## Setup
Password lifetime | Automatic log-off | Member discount % | VAT % | Min QC results | Max email columns | Max fax columns | SMS Gateway Email Address | Dry matter analysis | Moisture analysis | AR Import options | AR Attachment option | Analysis Attachment option | Sample retention period
0 | 0 | 15 | 14 | 5 | 5 | 4 |  | DM | Moist | Classic | Permitted | Permitted | 30

## Lab Information
Name | Tax number | Phone | Fax | Email address | Lab URL | Confidence Level % | Accredited Y/N | Accreditation Body Abbreviation | Accreditation Body | Accreditation Body URL | Accreditation | Accreditation Reference
Bika 3 Test lab | 1234567890 | 021 678 8912 | 021 678 8913 | bika3@scapp.co.za | http://bika3.bikalabs.com | 95 | TRUE | JACC | Jedhi Accreditation Inc | www.jacc.com | ISO 17025 | JACC 8916

## Lab Users
Lab users
Salutation | Firstname | Surname | Username | Password | EmailAddress | Groups
Salutation | First Name | Surname | User name | password | Email address | Role
Ms | Lab | Manager 1 | labmanager1 | labmanager1 | labmanager1@scapp.co.za | LabManagers
Mr | Lab | Manager 2 | labmanager2 | labmanager2 | labmanager2@scapp.co.za | LabManagers
Ms | Lab | Manager 3 | labmanager3 | labmanager3 | labmanager3@scapp.co.za | LabManagers
Mr | Lab | Manager 4 | labmanager4 | labmanager4 | labmanager4@scapp.co.za | LabManagers
Ms | Lab | Manager 5 | labmanager5 | labmanager5 | labmanager5@scapp.co.za | LabManagers
Mr | Lab | Clerk 1 | labclerk1 | labclerk1 | labclerk1@scapp.co.za | LabClerks
Ms | Lab | Clerk 2 | labclerk2 | labclerk2 | labclerk2@scapp.co.za | LabClerks
Mr | Lab | Clerk 3 | labclerk3 | labclerk3 | labclerk3@scapp.co.za | LabClerks
Ms | Lab | Analyst 1 | analyst1 | analyst1 | analyst1@scapp.co.za | Analysts
Mr | Lab | Analyst 2 | analyst2 | analyst2 | analyst1@scapp.co.za | Analysts
Ms | Lab | Analyst 3 | analyst3 | analyst3 | analyst1@scapp.co.za | Analysts
Mr | Lab | Verifier 1 | verifier1 | verifier1 | verifier1@scapp.co.za | Verifiers
Ms | Lab | Publisher | publisher1 | publisher1 | publisher1@scapp.co.za | Publishers

## Lab Contacts
Lab contacts | [9 empty] | use Insert->Image From File to add signatures
Salutation | Firstname | Surname | EmailAddress | BusinessPhone | BusinessFax | HomePhone | MobilePhone | JobTitle | Department | Signature
Salutation | First name | Surname | Email address | Telephone | Fax | Home telephone | Mobile | Job title | Department | Signature
Mr | John | Smith | john@scapp.co.za | 021 555 1234 | 021 555 1233 | 048 813 9515 | 082 555 9910 | Manager | Microbiology
Ms | Mary | Makoeba | mary@scapp.co.za | 021 555 1236 | 021 555 1233 | 050 866 9887 | 083 555 8108 | Assistant manager | Microbiology | SignaturesMaryMakoeba.png
Ms | Gooi | Pieterse | pieterse@scapp.co.za | 048 813 9254 | 048 813 9323 | 048 813 3719 | 088 846 9783 | Manager | Chemistry | SignaturesGooiP.jpg
Mr | Sandile | Shibangu | shibangu@scapp.co.za | 050 866 9582 | 050 866 9747 | 050 866 1220 | 090 869 9791 | Assistant manager | Chemistry | SignaturesShi.jpg
Mr | Mike | Lancelot | lancelot@scapp.co.za | 065 463 9615 | 065 463 2791 | 065 463 1715 | 078 813 2950 | Manager | Sampling | SignaturesMike.jpg
Mr | Hue | Mollema | mollema@scapp.co.za | 010 417 2743 | 010 417 3007 | 010417 5849 | 073 965 3368 | Sampler | Sampling | SignaturesHue.jpg
Mr | Julius | Finkeldey | finkeldey@scapp.co.za | 049 587 7652 | 049 587 3252 | 049 587 9155 | 081 944 4675 | Sampler | Sampling | SignaturesX.jpg

## Lab Departments
Lab departments |  | LabContact
title | description | _LabContact_Fullname
Title | Description | Manager
Microbiology | Microbiology department | John Smith
Chemistry | Analytical chemistry department | Gooi Pieterse
Sampling | The sampling and collecting team | Mike Lancelot

## Clients
Clients
AccountNumber | Name | MemberDiscountApplies | EmailAddress | Telephone | Fax
Account Nr | Name | Member Y/N | Email address | Telephone | Fax
320 | Norton Feeds | TRUE | norton@scapp.co.za | 021 555 2050 | 021 555 2192
330 | Ostrich Products Inc. | FALSE | ostriches@scapp.co.za | 021 555 1150 | 021 555 1504
370 | Ruff Dog Food | TRUE | ruff@scapp.co.za | 021 555 1705 | 021 555 1705
470 | Morton Chickens | TRUE | morton@scapp.co.za | 021 555 5264 | 021 555 4557
410 | Sunnyside Egg Farm | TRUE | sunnyside@scapp.co.za | 021 555 1663 | 021 555 3295
420 | Klaymore Fertilizer | TRUE | klaymore@scapp.co.za | 021 555 3026 | 021 555 3157
440 | Happy Hills Feeds | TRUE | happyhills@scapp.co.za | 021 555 4220 | 021 555 4220
1624 | Myrtle Wheat Farm | FALSE | mwf@scapp.co.za | 021 555 1901 | 021 555 3417
480 | Petersville Co-op | TRUE | petersville@scapp.co.za | 021 555 1730 | 021 555 1731

## Client Contacts
Client Contacts |  |  |  |  | Departments
_Client_Name | Salutation | Firstname | Surname | JobTitle | Department | BusinessPhone | BusinessFax | HomePhone | MobilePhone | Username | Password | EmailAddress | PublicationPreference | CC | AttachmentsPermitted
Client | Salutation | First name | Surname | Job title | Department | Telephone | Fax | Home Phone | Mobile | Username | Password | Email address | Publication Preference | CC Contacts | Attachments permitted Y/N
Norton Feeds | Mr | Carl | Bennett | QC manager | Chemistry | 020 307 2324 | 020 307 2050 | 020 307 2013 | 070 144 2178 | carlbe | carlbe | bennett@scapp.co.za | email | chielfr | TRUE
Norton Feeds | Mr | Chiel | Fransman | Product assistant | QM | 021 321 3054 | 021 321 2470 | 021 321 2060 | 071 186 3359 | chielfr | chielfr | fransman@scapp.co.za | email | carlbe | TRUE
Ostrich Products Inc. | Ms | Karen | Leonard | Research assistant | Chemistry | 022 473 3711 | 022 473 3907 | 022 473 2587 | 072 231 4216 | karenle | karenle | leonard@scapp.co.za | email | peterdl | TRUE
Ostrich Products Inc. | Ms | Petrie | Dlamini | QC manager | Production | 023 510 3979 | 023 5104307 | 023 5102886 | 073 300 4697 | peterdl | peterdl | dlamini@scapp.co.za | email | karenle | TRUE
Ruff Dog Food | Mr | Chris | Ruffian | Controller | Chemistry | 025 557 4204 | 025 557 4531 | 025 557 3131 | 074 304 5021 | chrisru | chrisru | ruffian@scapp.co.za | email | bjornei | TRUE
Ruff Dog Food | Ms | Bjork | Eisteddfod | Admin assistant | Research and Development | 026 561 4280 | 026 561 5217 | 026 561 3187 | 075 3105215 | bjornei | bjornei | eistedfodd@scapp.co.za | email | chrisru | TRUE
Morton Chickens | Mr | Alfie | Faraday | Product assistant | Product development | 029 569 4286 | 029 569 5689 | 029 569 3575 | 076 405 6031 | alfiefa | alfiefa | faraday@scapp.co.za | email | bibimo | TRUE
Morton Chickens | Ms | Bibi | Moeketsi | Research assistant | Micro-Biology | 031 572 4880 | 031 572 6139 | 031 572 5496 | 077 432 6402 | bibimo | bibimo | moeketsi@scapp.co.za | email | alfiefa | TRUE
Sunnyside Egg Farm | Mr | Andre | Corbin | Administrator | Research and Development | 032 586 5303 | 032 586 6331 | 032 586 5622 | 078 469 7035 | andreco | andreco | corbin@scapp.co.za | email | churchillva | TRUE
Sunnyside Egg Farm | Dr | Churchill | van de Merwe | QC manager | Chemistry | 033 594 5575 | 033 594 6673 | 033 594 5761 | 079 524 7454 | churchillva | churchillva | vandermerwe@scapp.co.za | email | andreco | TRUE
Klaymore Fertilizer | Mr | Neil | Standard | Research assistant | Product development | 035 597 5814 | 035 597 6876 | 035 597 6344 | 080 564 7509 | neilst | neilst | standard@scapp.co.za | email | johannasm | TRUE
Klaymore Fertilizer | Ms | Johanna | Smith | Scientist | Soil science | 036 640 6016 | 036 6406911 | 036 6407167 | 081 569 7909 | johannasm | johannasm | smith@scapp.co.za | email | neilst | TRUE
Happy Hills Feeds | Ms | Rita | Mohale | Product assistant | Chemistry | 038 664 6469 | 038 664 7338 | 038 664 7757 | 082 607 8405 | ritamo | ritamo | mohale@scapp.co.za | email | sarelse | TRUE
Happy Hills Feeds | Mr | Sarel | Seemonster | Manager | Nutrient management | 040 666 6630 | 040 666 7834 | 040 666 7858 | 083 644 8576 | sarelse | sarelse | seemonster@scapp.co.za | email | ritamo | TRUE
Myrtle Wheat Farm | Mr | Fred | Turner | QC manager | Production | 041 670 6654 | 041 6708002 | 041 670 8848 | 084 677 8884 | fredtu | fredtu | turner@scapp.co.za | email | anneli | TRUE
Myrtle Wheat Farm | Ms | Anne | Livingstone | Chemist | Product development | 043 686 7287 | 043 686 8770 | 043 686 9006 | 085 744 8920 | anneli | anneli | livingstone@scapp.co.za | email | fredtu | TRUE
Petersville Co-op | Ms | Gillian | Foster | Product assistant | Research and Development | 045 729 8972 | 045 729 8771 | 045 729 9142 | 086 768 9018 | gillian | gillian | foster@scapp.co.za | email | judgets | TRUE
Petersville Co-op | Dr | Judge | Tshabala | Consultant | Chemistry | 047 787 9166 | 047 787 9227 | 047 787 9249 | 087 786 9610 | judgets | judgets | tshabala@scapp.co.za | email | gillian | TRUE

## Instruments
Instruments
title | description | Type | Brand | Model | SerialNo | CalibrationCertificate | CalibrationExpiryDate
Title | Description | Type | Brand | Model | Serial no. | Calibration Certificate | Calibration Expiry date
CropScan | Bench top grain analyser, Desk3 | NIR | Cropscan | 2000B | 30308 | SANCal 11/6010 | 2012-02-01
Blott Titrator | Automatic volumetric titrator | Auto titrator | Blott | PFT2000 | 39515 | SANCal 11/8236 | 2012-02-01
AA 1 | Atomic Absorption | AA | Bavarian | AAziczic | 58227 | SANCal 11/5783 | 2012-05-01
AA 2 | Atomic Absorption Spectrophotometer | AA | Pelmer Erkin | 5000m | 79514 | SANCal 11/4545 | 2012-02-01
Conductivity meter | Liquids Conductivity Meter | Conductivity Meter | Yatsi | 1010 | 35453 | SANCal 11/3691 | 2012-05-01
Spectrometer 1 | Mass Spectrometer | Mass Spectrometer | Fermo Thisher | TSQ 7000 | 43516 | SANCal 11/5953 | 2012-02-01
Microscope (Beica) | Optical Microscope | Microscope | Beica | CosmoStar IV | 80586 | SANCal 11/2475 | 2012-02-01
Microscope (Neiss) | Optical Microscope | Microscope | Neiss | RX Stellar | 32128 | SANCal 11/5577 | 2011-12-01
NIRTech | Near Infra-red Transmission Analyser | NIR | NIRTech | Series 2000 | 66153 | SANCal 11/4059 | 2012-02-01
Protein Analyser | Proteins | Protein Analyser | Bade Dehring | Turbsolve 12 | 63453 | SANCal 11/8772 | 2011-12-01
Spectrometer 2 | Spectrophotometer | Spectrophotometer | Deckban | FUD-55 | 27204 | SANCal 11/2593 | 2011-11-31
Spectrometer 3 | Spectrophotometer | Spectrophotometer | Bunico | 1001 | 37860 | SANCal 11/2757 | 2012-02-20
Bach | Turbidity Meter | Turbidity Meter | Bach | XRatio 1 | 27605 | SANCal 11/5877 | 2011-12-01
Spectrometer 4 | Un/Vis Spectrophotometer | Un/Vis Spectrophotometer | Pelmer Erkin | Delta 3Z | 77142 | SANCal 11/6977 | 2012-05-01
Titrator station 1 | Volumetric Titrator | Auto titrator | Darl Nischer | TJ100 | 75888 | SANCal 11/7889 | 2011-11-31
Incubator 1 | Old incubator | Incubator | Fermo Tisher | Scientific Midi 12 | 41163 | SANCal 11/2837 | 2011-12-01
Incubator 2 | New incubator | Incubator | Fermo Tisher | Scientific Midi 40 | 32921 | SANCal 11/4648 | 2012-02-01
Balance at reception | Precision weighing balance | Electronic balance | Bartorius | DIK50 Mark II | 32128 | SANCal 11/5577 | 2011-12-01
Lab Balance 1 | Precision weighing balance | Electronic balance | Bohaus | BB22DD | 66153 | SANCal 11/4059 | 2012-02-01
Lab Balance 2 | Precision weighing balance | Electronic balance | Bohaus | BB22DD | 63453 | SANCal 11/8772 | 2011-12-01

## Sample Points
Sample Points |  | Sampling Frequency |  |  |  | Latitude |  |  |  | Longitude
title | description | Days | Hours | Minutes | Composite | lat deg | lat min | lat sec | NS | long deg | long min | long sec | EW | Elevation
Title | Description | Days | Hours | Minutes | Composite | deg | min | sec | NS | deg | min | sec | EW | elevation
Borehole 12 | Farm borehole for sheep | 5 | 0 | 0 | TRUE | 34 | 20 | 20 | S | 19 | 20 | 20 | E | 1000
Broiler House W | Western broiler house | 5 | 0 | 0 | FALSE | 33 | 21 | 21 | S | 20 | 21 | 21 | E | 1000
Rooikloof Farm | Potato fields | 5 | 0 | 0 | FALSE | 32 | 22 | 22 | S | 21 | 22 | 22 | E | 1000
Dry stock | On production line 2 | 5 | 0 | 0 | FALSE | 31 | 23 | 23 | S | 22 | 23 | 23 | E | 1000
Mill | On production line 2 | 5 | 0 | 0 | FALSE | 34 | 24 | 24 | S | 23 | 24 | 24 | E | 1000
Mixer | On production line 2 | 5 | 0 | 0 | TRUE | 33 | 25 | 25 | S | 24 | 25 | 25 | E | 1000
Packaging | On production line 2 | 5 | 0 | 0 | FALSE | 32 | 26 | 26 | S | 19 | 26 | 26 | E | 1000
Dispatch | On production line 2 | 5 | 0 | 0 | FALSE | 31 | 27 | 27 | S | 20 | 27 | 27 | E | 1000
Bruma Lake | Public lake | 5 | 0 | 0 | TRUE | 34 | 28 | 28 | S | 21 | 28 | 28 | E | 1000
Shop – BB Supermarket | From the shelves | 5 | 0 | 0 | FALSE | 33 | 29 | 29 | S | 22 | 29 | 29 | E | 1000
Abattoir | Gross | 5 | 0 | 0 | FALSE | 32 | 30 | 30 | S | 23 | 30 | 30 | E | 1000

## Sample Types
Sample Types
title | description | RetentionPeriod | Hazardous
Title | Description | Retention period (days) | hazardous
Aartappel/Potato | Fresh potato | 10 | False
Appelpulp/Apple Pulp | Chilled apple pulp | 10 | False
Bloedmeel/Blood Meal | Dry powder | 10 | True
BR Grower | Green pellets | 30 | False
BR Starter | Red pellets | 30 | False
Brouersgraan/Dist. Grain | Whole grains, not crushed or milled | 30 | False
Canola | Whole grains, not crushed or milled | 30 | False
Catfish | Fresh, chilled | 3 | True
Gars/Barley | Whole grains | 30 | False
Gluten | White powder | 10 | False
Gluten Feed 60 | Pellets, white | 10 | False
Grower Concentrate | Brown syrup | 10 | False
Hawerkuilvoer | Moist or dry. Oats only | 10 | False
Hondepille/Dog pellets | Dry pellets | 30 | True
Hooi/Hay | Moist or dry. Any cultivar | 30 | False
Kalk Grof/Lime Grit | Coarse | 30 | False
Kalk/Lime | Fine powder | 30 | False
Karkasmeel/Carcass Meal | Dry. Keep refrigerated | 0 | True
Koring/Wheat | Whole grains | 30 | False
Lohman Breeder | Chicken feed for egg-laying hens | 30 | False
Lohman Developer | Chicken feed, broiler house | 30 | False
Lohman Organic | Organic chicken feed | 30 | False
Lupiene/Lupins | Whole grains | 30 | False
Lusern/Lucerne | Dry or moist. Must be 99% Lucerne | 0 | False
Melkpoeier/Milk Powder | Powdered. Keep dry | 0 | True
Mielies Geel/Yellow Maize | Whole grains | 30 | False
Mielies Wit/White Maize | Whole grains | 30 | False
Mono Calphos | Organic fertilizer | 0 | False
Nulaid | Nulaid feed for egg producing hens | 0 | False
Parrot Food | Grains | 30 | False
Rotpille/ Rat Pellets | Poisonous. Highly contagious. | 30 | True
Semels/Bran | No whole grains | 30 | False
Skulp | Raw sea shells- before processing | 90 | False
Soja/Soya | Whole seeds | 30 | False
Sonneblom/Sunflower | Whole grains | 30 | False
Stof/Dust | Keep dry | 10 | False
Strooi/Straw | Moist or dry. Any cultivar | 30 | False
Trout Fry Meal | Pellets. Strong odour | 10 | True
Varkgroei/Pig Growth | Mixed grain, mainly maize | 30 | True
Viskos | Pellets | 30 | True
Vismeel/Fish meal | Powder. Keep sealed | 20 | True
Volstruisaanvang/Ostrich | Pellets | 30 | False
Water | Potable or river water. Not sewage | 3 | False
Wei/Whey | Cheese factory by product. Keep refrigerated | 3 | True

## Analysis Categories
Analysis Categories
title | description | Department
Title | Description | Department
Feedstuff Chemistry | Diverse dry chemistry | Chemistry
Energy | Energy values of feeds | Chemistry
Metals | Trace metals in feeds and water | Chemistry
Micro-Biology | Micro-Biological analyses grouped together | Microbiology
Miscellaneous | If it does not fit in anywhere else, put it here | Chemistry
Protein | Protein content of feeds, fresh produce and meat | Chemistry
Toxin | Toxins in feed and fresh produce | Chemistry
Water Chemistry | These apply to water only | Chemistry

## Methods
Methods
title | description | Instructions | MethodDocument
Title | Description | Instructions | Document
Titration | A titration is a method of analysis that will allow you to determine the precise endpoint of a reaction and therefore the precise quantity of reactant in the titration flask. A buret is used to deliver the second reactant to the flask and an indicator of pH Meter is used to detect the endpoint of the reaction | Lorem ipsum dolor sit amet, dis laoreet eleifend wisi, phasellus adipiscing maecenas enim pharetra fermentum, mauris arcu sed quis, ante eros eleifend mollis integer lorem. Pulvinar et porttitor, velit id gravida quisque. Porttitor maecenas proin augue.
RT-PCR | Reverse Transcriptase Polymerase Chain Reaction - Powerful technique for producing millions of copies of specific parts of the genetic code of an organism so that it may be readily analyzed. More specifically, RT-PCR produces copies of a specific region of complementary DNA that has been converted from RNA. The technique is often used to help in the identification of an infectious agent | Vestibulum eget tincidunt ipsum mauris suspendisse, dictum at, faucibus habitasse consequat, orci turpis in sed amet ut, ullamcorper pellentesque semper ipsum magna sit. Amet odio erat bibendum, ac amet officiis erat, donec ultricies tincidunt orci. | Beginners guide to real-time PCR.pdf
QuEChERS | QuEChERS (pronounced Catchers), an acronym for Quick, Easy, Cheap, Effective, Rugged and Safe, is a sample extraction and clean-up technique widely used for the analysis of multiple residues in hydrated agricultural product | Mauris suspendisse nulla tempus, dolore ante. Mollis nunc. Sed dui nibh ultrices parturient, at porta in, dapibus pretium urna luctus sed donec amet, in nulla consectetuer nec ultrices euismod volutpat. Lacus felis nulla nunc. At a luctus pharetra justo varius orci, cursus neque blandit semper eu ipsum, vitae id rutrum, id scelerisque. Libero suscipit sem etiam quis, aenean mi rutrum, bibendum eget felis donec libero imperdiet ullamcorper. | QuEChERS.pdf (PDF document 90Kb)
FIA | Flow Injection Analysis - microchemical technique to automate wet chemical methods. In a FIA system, a carrier solution and the chemical reagents are continuously pumped through tubes, mixing coils and finally through a flow cell in a detector. A small portion of the sample is injected into the carrier. The carrier merges with one or more reagents to produce a chemical reaction. The resulting colour change in the sample zone is measured in the detector. The time between injection and detection is typically 1 minute. The dispersion or dilution of the sample zone is controlled by the system components, i.e. injected volume, flow rates and length and diameter of the tubing. When the dispersed sample zone reaches the flow cell of the detector neither the chemical reaction nor the dispersion process must have reached completion or a steady state. Keeping identical conditions for both samples and standards makes evaluation and quantification reproducible and precise | Eget urna gravida luctus. Vestibulum faucibus vel, lacinia vivamus. Vel quam et amet mauris, massa ut, amet amet elit, velit leo arcu sapien. At a dolor, pellentesque morbi lorem maecenas ut sit nunc, risus nec vel scelerisque, lobortis in mauris wisi justo, arcu eu mus vel turpis erat odio. | FIAIntroduction.pdf
Elution | The process of extracting one material from another by washing with a solvent to remove adsorbed material from an adsorbent, as in washing of loaded ion-exchange resins to remove captured ions | Amet luctus in ante. Phasellus erat vel id posuere purus. Donec eu a libero vel donec justo, nibh sollicitudin et ipsum molestie. Neque congue magna, cras natoque lectus consectetuer, class dolor ut a erat, ultrices non mauris elementum pede, odio praesent cupidatat arcu. | PolyethyleneFractionationElution.pdf
ELISA | Enzyme-linked immunosorbent assay - A sensitive technique for accurately determining specific molecules in a mixed sample. The amount of protein or other antigen in a given sample is determined by means of an enzyme-catalysed colour change, avoiding both the hazards and expense of radioactive techniques. www.fao.org. an assay that relies on an enzymatic conversion reaction and is used to detect the presence of specific substances such as enzymes or viruses or antibodies or bacteria. wordnet.princeton.edu. A positive ELISA test generally is confirmed by the Western Blot test Method document: | Diam accumsan litora arcu lectus. Ut perferendis scelerisque a, vel leo sodales ac at venenatis bibendum. Nec dolor metus, nam non dictum leo. Justo vestibulum elit ac vestibulum ac, venenatis nibh est nec vulputate ultricies lacus, proin penatibus sem vestibulum, orci ipsum lectus nobis. Amet mus vitae est quisque, at in amet nulla nulla sagittis ultricies, gravida at eros nunc in vitae scelerisque, mattis ullamcorper rutrum, felis maecenas gravida pede blandit. | Proteasome ELISA kit.pdf
AES | Auger Electron Spectroscopy - Auger (pronounced ~o-jay) electron spectroscopy is an electron spectroscopic method that uses a beam of electrons to knock electrons out of inner-shell orbitals. Auger electrons are ejected to conserve energy when electrons in higher shells fill the vacancy in the inner shell. These Auger electrons have energies characteristic of the emitting atom due to the characteristic energy-level structure of that element | Donec senectus elit luctus dignissim, lorem vitae neque, nec est gravida lorem ultricies egestas ultrices, quam dolor mi amet. Ac elit pellentesque, mauris et, fermentum ut tellus arcu nonummy, justo dui ut ad taciti rhoncus vel. Proin sed diam consequat, in sed vivamus ultricies metus ac lectus. Massa imperdiet et, nunc vel sed elementum aenean sed a, nec ipsum ligula voluptate iaculis minim sodales, nibh lorem proin taciti quam. | Auger Electron Spectroscopy.pdf
12 dB SINAD | The most common use of the SINAD measurement is to assess the sensitivity performance of a radio receiver. To achieve this the sensitivity can be assessed by determining the RF input level at the antenna that is required to achieve a given figure of SINAD. Normally a SINAD value of 12 dB is taken as this corresponds to a distortion factor of 25%, and a modulating tone of 1 kHz is used. It is also necessary to determine other conditions. For AM it is necessary to specify the depth of modulation and for FM the level of deviation is required. For FM analogue systems ETSI specifies the use of a deviation level of 12.5% of the channel spacing A typical specification might be that a receiver has a sensitivity of 0.25 uV [microvolts] for a 12 dB SINAD. Obviously the lower the input voltage needed to achieve the given level of SINAD, the better the receiver performance. | Ante sit morbi habitasse, risus augue velit tellus augue, enim sit vitae a. Massa leo, hymenaeos quam, dolor leo nullam nulla, dictumst dolor, donec nonummy tincidunt primis ligula erat. | sinad.pdf
Protein Spectroscopy | Spectroscopic Methods for Analysis of Protein Secondary Structure | Mauris viverra, porta convallis potenti molestie tellus, sit lacus vehicula sit pellentesque pellentesque faucibus. Risus arcu, est ultrices duis leo quis, tortor senectus tellus orci dapibus id. Fusce curae rutrum odio, ipsum amet amet, quis ut leo vitae eget tempor, pulvinar ut aptent at quam, magna enim vulputate sed et eum eu. Ut pellentesque suscipit adipiscing, nunc donec lacus tortor sed cursus, nec sed. | SpectroscopicMethodsForAnalysisForProtein2ndaryStructure.pdf
Infrared Spectrometry |  | Amet luctus in ante. Phasellus erat vel id posuere purus. Donec eu a libero vel donec justo, nibh sollicitudin et ipsum molestie. Neque congue magna, cras natoque lectus consectetuer, class dolor ut a erat, ultrices non mauris elementum pede, odio praesent cupidatat arcu. Ante sit morbi habitasse, risus augue velit tellus augue, enim sit vitae a. Massa leo, hymenaeos quam, dolor leo nullam nulla, dictumst dolor, donec nonummy tincidunt primis ligula erat. | FTIRintro.pdf
Maldi-tof | Maldi-tof mass Spectrometry of Bacteria | Diam accumsan litora arcu lectus. Ut perferendis scelerisque a, vel leo sodales ac at venenatis bibendum. Nec dolor metus, nam non dictum leo. Justo vestibulum elit ac vestibulum ac, venenatis nibh est nec vulputate ultricies lacus, proin penatibus sem vestibulum, orci ipsum lectus nobis. Amet mus vitae est quisque, at in amet nulla nulla sagittis ultricies, gravida at eros nunc in vitae scelerisque, mattis ullamcorper rutrum, felis maecenas gravida pede blandit. | MaldiTof.pdf

## Analysis Services
Analysis Services |  | No special chars or spaces in keywords. | [7 empty] | Turnaround time | [10 empty] | Uncertainties
title | description | Keyword | PointOfCapture | Category | Department | ReportDryMatter | Attachment | Unit | Precision | Days | Hours | Minutes | Price | BulkPrice | VAT | Method | Instrument | Calculation | DuplicateVariation | Accredited | intercept_min | intercept_max | errorvalue
Title | Description | Keyword | Point of capture | Category | Department | Dry matter | Attachment | Unit | Precision | Days | Hours | Minutes | Price | Bulk price | VAT | Method | Instrument | Calculation | % Dup variation | Accredited | Range Min | Range Max | Uncertainty Value
Temperature | Temperature at time of sample capture | Temp | field | Water Chemistry | Sampling | FALSE | Permitted | Deg. C | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  |  |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
pH (field) | pH measured at sample capture | pHField | field | Water Chemistry | Sampling | FALSE | Permitted |  | 2 | 0 | 2 | 0 | 10 | 10 | 14 | Titration |  |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Aflatoxins Total | HPLC, Immuno-fluorescence, Immuno-chemical techniques | Aflatox | lab | Toxin | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  |  |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Ash | The sample is heated in a muffle furnace to remove organic material. The remaining residue of mineral ash is determined by differential weighing before and after heating | Ash | lab | Feedstuff Chemistry | Chemistry | TRUE | Permitted | % | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  |  | Residual Weight | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Calcium |  | Ca | lab | Metals | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 | AES | AA 1 | Titration | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Chlorides |  | Clide | lab | Water Chemistry | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  | Spectrometer 2 |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Chlorine residual |  | Cl | lab | Water Chemistry | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  | Spectrometer 2 | Titration | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
COD |  | COD | lab | Water Chemistry | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  |  |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Conductivity @ 25 deg C |  | Conductivity | lab | Feedstuff Chemistry | Chemistry | FALSE | Permitted | mS/m | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  |  |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Copper |  | Cu | lab | Metals | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 | AES | AA 1 |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Ether Extract |  | EE | lab | Feedstuff Chemistry | Chemistry | FALSE | Permitted | % | 2 | 0 | 2 | 0 | 10 | 10 | 14 | Titration |  |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Fat Crude |  | FatCrude | lab | Energy | Chemistry | TRUE | Permitted | % | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  |  | Weight Loss (tare) | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Fibre - ADF |  | FibADF | lab | Energy | Chemistry | TRUE | Permitted | % | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  |  | Weight Loss | 10 | TRUE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Fibre - Crude |  | CF | lab | Energy | Chemistry | TRUE | Permitted | % | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  |  |  | 10 | TRUE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Fibre - NDF |  | NDF | lab | Energy | Chemistry | TRUE | Permitted | % | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  |  | Residual Weight (tare) | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Fluoride |  | F | lab | Metals | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  | Spectrometer 2 |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Iron |  | Fe | lab | Metals | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 | AES | AA 1 |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Lignin |  | Lignin | lab | Protein | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  |  | Residual Weight | 10 | TRUE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Magnesium |  | Mg | lab | Metals | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 | AES | AA 1 |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Manganese |  | Mn | lab | Metals | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 | AES | AA 1 |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Moisture | dry sample and container are captured. The result is determined by the formula: (wet sample - dry sample) / (wet sample - container) | Moist | lab | Miscellaneous | Chemistry | FALSE | Permitted | % | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  |  | Weight Loss | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Nitrates & Nitrites |  | N | lab | Metals | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  |  |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Phosphorus |  | Phos | lab | Metals | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 | AES | AA 1 |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
pH (laboratory) |  | pH | lab | Feedstuff Chemistry | Chemistry | FALSE | Permitted |  | 2 | 0 | 2 | 0 | 10 | 10 | 14 | Titration |  |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Phosphorus Total |  | PhosTot | lab | Feedstuff Chemistry | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  |  |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Protein - ADIP |  | ADIPP | lab | Protein | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  | Protein Analyser |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Protein - NDIP |  | NDIPP | lab | Protein | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  | Protein Analyser | Titration | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Protein (KOH Solubility) | KOH solubility method for testing protein | KOHP | lab | Protein | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  | Protein Analyser |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Protein (Soluble) | Principle: The sample is incubated in a buffered artificial saliva solution to solubilise the protein. The difference between the nitrogen in the filter paper residue and that in original sample gives the soluble protein fraction. Reference: ALASA method 4.5 | SP | lab | Protein | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  | Protein Analyser |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Protein Crude |  | CP | lab | Protein | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  | Protein Analyser |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Sodium |  | Na | lab | Metals | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 | AES | AA 1 |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Starch |  | STA | lab | Energy | Chemistry | FALSE | Permitted | % | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  |  |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Sugars | Total sugars as invert sugar | SUG | lab | Energy | Chemistry | FALSE | Permitted | % | 2 | 0 | 2 | 0 | 10 | 10 | 14 | Titration |  |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Sulphate |  | SO4 | lab | Feedstuff Chemistry | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 | AES | AA 1 |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Suspended solids | Suspended solid testing methods | SS | lab | Water Chemistry | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  |  |  | 10 | TRUE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
TDS (calculated) |  | CTDS | lab | Water Chemistry | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  |  |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Tot. Alkalinity (CaCO3) |  | CaCO3 | lab | Water Chemistry | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  |  |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Tot. Hardness (THCaCO3) |  | THCaCO3 | lab | Water Chemistry | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  |  |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Urea |  | Urea | lab | Feedstuff Chemistry | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 |  | Spectrometer 2 |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Zinc |  | Zn | lab | Metals | Chemistry | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 10 | 14 | AES | AA 1 |  | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Dry Matter | Description for percentage dry matter. Dependant on Moisture | DM | lab | Feedstuff Chemistry | Chemistry | FALSE | Permitted | % | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Dry Matter | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
AME – Apparent Metabolisable Energy | AME used for poultry feed as no correction is made for faecal or endogenous energy losses | AME | lab | Energy | Chemistry | TRUE | Permitted | MJ/kg | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Apparent Metabolisable Energy | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
ME – Metabolisable Energy | ME used for ruminant feeds | ME | lab | Energy | Chemistry | TRUE | Permitted | MJ/kg DM | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Metabolisable Energy | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Non-Structural Carbohydrates | NSC is used for dairy cattle | NSC | lab | Energy | Chemistry | FALSE | Permitted | % DM | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Non-Structural Carbohydrates | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
DE – Digestible Energy | DE is used for pig feeds | DE | lab | Energy | Chemistry | FALSE | Permitted | MJ/kg | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Digestible Energy | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Total Digestible Nutrients | TDN % is used for ruminant feeds | TDN | lab | Energy | Chemistry | FALSE | Permitted | % DM | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Total Digestible Nutrients | 10 | FALSE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Clostridia | ISO incubation method | Clos | lab | Micro-Biology | Micro-Biology | FALSE | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | TRUE |  | Positive,Negative,Indeterminable
Entero | ISO incubation method | Entero | lab | Micro-Biology | Micro-Biology | FALSE | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | TRUE |  | Positive,Negative,Indeterminable
Ecoli | ISO incubation method | Ecoli | lab | Micro-Biology | Micro-Biology | FALSE | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | TRUE |  | Positive,Negative,Indeterminable
Salmonella | ISO incubation method | Salmon | lab | Micro-Biology | Micro-Biology | FALSE | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | TRUE |  | Positive,Negative,Indeterminable
Ecoli Count | ISO incubation method | Ecolicnt | lab | Micro-Biology | Micro-Biology | FALSE | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | TRUE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Enterococcus count | ISO incubation method | Enterocnt | lab | Micro-Biology | Micro-Biology | FALSE | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | TRUE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4
Total Viable Bacteria count | ISO incubation method | TVBcnt | lab | Micro-Biology | Micro-Biology | FALSE | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | TRUE | 0 | 2 | 0.1
[21 empty] | 2.01 | 4 | 0.2
[21 empty] | 4.01 | 6 | 0.3
[21 empty] | 6.01 | 8 | 0.4

## Calculations
Calculations 1 |  |  |  | Interim fields - No special chars or spaces in keywords.
title | description | DependentServices | Formula | interim_keyword | interim_title | interim_type | interim_value | interim_unit
Title | Description | Dependents | Formula | Keyword | Title | Type | Value | Unit
Titration | Standard titration |  | %(TV)f * %(TF)f | TV | Titr Vol | int | 0 | g
|  |  |  | TF | Titr Fact | int | 0
Weight Loss | Weight loss as % moisture |  | ( %(GM)f - %(NM)f ) / ( %(GM)f - %(VM)f ) * 100 | GM | Gross Mass | int | 0 | g
|  |  |  | NM | Nett Mass | int | 0 | g
|  |  |  | VM | Vessel Mass | int | 0 | g
Weight Loss (tare) | Weight loss (tare) as % moisture |  | (( %(VM)f + %(SM)f - %(NM)f ) / %(SM)f ) * 100 | SM | Sample Mass | int | 0 | g
|  |  |  | NM | Nett Mass | int | 0 | g
|  |  |  | VM | Vessel Mass | int | 0 | g
Residual Weight | Residual Weight as % ash |  | (( %(NM)f - %(VM)f ) / ( %(GM)f - %(VM)f )) * 100 | GM | Gross Mass | int | 0 | g
|  |  |  | NM | Nett Mass | int | 0 | g
|  |  |  | VM | Vessel Mass | int | 0 | g
Residual Weight (tare) | Residual Weight (tare) as % ash |  | (( %(NM)f - %(VM)f ) / %(SM)f ) * 100 | SM | Sample Mass | int | 0 | g
|  |  |  | NM | Nett Mass | int | 0 | g
|  |  |  | VM | Vessel Mass | int | 0 | g
Dry Matter | Percentage dry matter. Dependent on Moisture Analysis | Moist | 100 - %(Moist)f
Apparent Metabolisable Energy | AME used for poultry feed as no correction is made for faecal or endogenous energy losses' | CP,EE,STA,SUG | %(CP)f + %(EE)f + %(STA)f + %(SUG)f
Metabolisable Energy | ME used for ruminant feeds | CP,EE,CF,Ash | 12 + ( %(CP)f + %(EE)f ) - %(CF)f + %(Ash)f
Non-Structural Carbohydrates | NSC is used for dairy cattle | NDF,CP,EE,Ash | 100 - ( %(NDF)f + %(CP)f + %(EE)f + %(Ash)f )
Digestible Energy | DE is used for pig feeds | CP,EE,CF,Ash | 17.38 + %(CP)f + %(EE)f - %(CF)s - %(Ash)f
Total Digestible Nutrients | TDN % is used for ruminant feeds | ME | %(ME)f * 6.67

## Analysis Profiles
Analysis Profiles
title | description | ProfileKey | Service
Title | Description | Keyword | Analyses
Trace Metals | Trace metals in feeds and Water | PTM | Ca,Cu,Fe,Mg,Mn,Na,Zn
Digestable Energy | Feedstuffs energy | PDE | DE,CP,EE,CF,Ash
Micro-Bio check | Tests presence of organisms only | Mbcheck | Clos,Ecoli,Salmon,Entero
Micro-Bio counts | Size of infestation | Mbcount | Ecolicnt,Enterocnt,TVBcnt

## Reference Manufacturers
Manufacturers
title | description
Title | Description
Bloggs & co | Manufacturers of fine products since 2008
Freds Factory | Not just a promise!

## Reference Definitions
Reference Definitions |  |  |  | Reference Results
title | description | Blank | Hazardous | keyword | min | result | max
Title | Description | Blank | Hazardous | Analyses | Min | Result | Max
Blank | All values zero | TRUE | 0 | ADIPP | 0 | 0 | 1
|  |  |  | Aflatox | 0 | 0 | 1
|  |  |  | AME | 0 | 0 | 1
|  |  |  | Ash | 0 | 0 | 1
|  |  |  | Ca | 0 | 0 | 1
|  |  |  | CaCO3 | 0 | 0 | 1
|  |  |  | CF | 0 | 0 | 1
|  |  |  | Cl | 0 | 0 | 1
|  |  |  | Clide | 0 | 0 | 1
|  |  |  | Clos | 0 | 0 | 1
|  |  |  | COD | 0 | 0 | 1
|  |  |  | Conductivity | 0 | 0 | 1
|  |  |  | CP | 0 | 0 | 1
|  |  |  | CTDS | 0 | 0 | 1
|  |  |  | Cu | 0 | 0 | 1
|  |  |  | DE | 0 | 0 | 1
|  |  |  | DM | 0 | 0 | 1
|  |  |  | Ecoli | 0 | 0 | 1
|  |  |  | EE | 0 | 0 | 1
|  |  |  | Entero | 0 | 0 | 1
|  |  |  | Enterocnt | 0 | 0 | 1
|  |  |  | F | 0 | 0 | 1
|  |  |  | FatCrude | 0 | 0 | 1
|  |  |  | Fe | 0 | 0 | 1
|  |  |  | Ecoli | 0 | 0 | 1
|  |  |  | Ecolicnt | 0 | 0 | 1
|  |  |  | FibADF | 0 | 0 | 1
|  |  |  | KOHP | 0 | 0 | 1
|  |  |  | Lignin | 0 | 0 | 1
|  |  |  | ME | 0 | 0 | 1
|  |  |  | Mg | 0 | 0 | 1
|  |  |  | Mn | 0 | 0 | 1
|  |  |  | Moist | 0 | 0 | 1
|  |  |  | N | 0 | 0 | 1
|  |  |  | Na | 0 | 0 | 1
|  |  |  | NDF | 0 | 0 | 1
|  |  |  | NDIPP | 0 | 0 | 1
|  |  |  | NSC | 0 | 0 | 1
|  |  |  | pH | 0 | 0 | 1
|  |  |  | pHField | 0 | 0 | 1
|  |  |  | Phos | 0 | 0 | 1
|  |  |  | PhosTot | 0 | 0 | 1
|  |  |  | Salmon | 0 | 0 | 1
|  |  |  | SO4 | 0 | 0 | 1
|  |  |  | SP | 0 | 0 | 1
|  |  |  | SS | 0 | 0 | 1
|  |  |  | STA | 0 | 0 | 1
|  |  |  | SUG | 0 | 0 | 1
|  |  |  | TDN | 0 | 0 | 1
|  |  |  | THCaCO3 | 0 | 0 | 1
|  |  |  | Urea | 0 | 0 | 1
|  |  |  | Zn | 0 | 0 | 1
AfconB12 | Feedstuff | FALSE | FALSE | Ash | 9 | 10 | 11
|  |  |  | Ca | 9 | 10 | 11
|  |  |  | Clide | 9 | 10 | 11
|  |  |  | FatCrude | 9 | 10 | 11
|  |  |  | FibADF | 9 | 10 | 11
|  |  |  | NDF | 9 | 10 | 11
|  |  |  | NDIPP | 9 | 10 | 11
Trace Metals Dry | Feedstuff | FALSE | TRUE | Ca | 9 | 10 | 11
|  |  |  | Cu | 9 | 10 | 11
|  |  |  | Fe | 9 | 10 | 11
|  |  |  | Mg | 9 | 10 | 11
|  |  |  | Mn | 9 | 10 | 11
|  |  |  | Na | 9 | 10 | 11
|  |  |  | Zn | 9 | 10 | 11
Trace Metals Water | Water | FALSE | TRUE | Ca | 9 | 10 | 11
|  |  |  | Cu | 9 | 10 | 11
|  |  |  | Fe | 9 | 10 | 11
|  |  |  | Mg | 9 | 10 | 11
|  |  |  | Mn | 9 | 10 | 11
|  |  |  | Na | 9 | 10 | 11
|  |  |  | Zn | 9 | 10 | 11
Micro-Biology | Counts | FALSE | TRUE | Ecolicnt | 9 | 10 | 11
|  |  |  | Enterocnt | 9 | 10 | 11
|  |  |  | TVBcnt | 9 | 10 | 11

## Reference Suppliers
Reference Suppliers
AccountNumber | Name | EmailAddress | Phone | Fax
Account nr | Name | Email address | Telephone | Fax
1 | Acme Standards | acme@scapp.co.za | 021 616 2050 | 021 616 2192
2 | Samples for Africa | sfa@scapp.co.za | 021 349 1150 | 021 349 1504
3 | Everything Normal | en@scapp.co.za | 021 344 3026 | 021 344 3157

## Reference Supplier Contacts
Reference Supplier Contacts
_ReferenceSupplier_Name | Firstname | Surname | Username | Password | EmailAddress
Reference Supplier | First name | Surname | Username |  | Email address
Acme Standards | Bobby | Smith | bobby | bobbyS | bobby@scapp.co.za
Samples for Africa | Bulelani | Miyama | bulelani | bulelaniM | bulelani@scapp.co.za
Everything Normal | Meredith | Miller | meredith | MeredithM | meredith@scapp.co.za

## Attachment Types
File Attachment Types
title | description
Title | Description
Spectrograph | Spectrograph image
Photograph | Photographic image
Microscope | Microscope photo
Data blob | Rawdata in binary format

## Lab Products
Products
title | description | Volume | Unit | Price
Title | Description | Volume | Unit | Price (excl VAT)
NaOH | N/100 | 2 | l | 56
Gedistilleerde water | Eie kan | 5 | l | 20
Ethanol - Aangesuur (Pepsien |  | 1 | l | 30
pH Buffer | pH 7 | 500 | ml | 35
Iodine Indikator | Iotect | 100 | g | 55
Ethanol | 96% | 1000 | ml | 30
Mono Propylene Glycol |  | 1000 | ml | 22.75
Asetaldehied |  | 500 | ml | 180
TS standaard |  | 500 | ml | 20
Balling standaard | 18deg | 100 | ml | 20
N Butanol |  | 2.5 | l | 520
Bromo Cresol Groen |  | 5 | g | 329
KI |  | 500 | g | 250
Kalium Natrium Tartraat (Roselt Sout |  | 500 | g | 180
WL Nutrient Agar |  | 500 | g | 245
Wynsteen L (+) suur |  | 500 | g | 186
Appelsuur | Byvoegings by Wyn | 1 | kg | 20
Sitroensuur | Byvoegings by Wyn | 1 | kg | 13.6
Meta Wynsteensuur | Byvoegings by Wyn | 1 | kg | 90
Cream of Tartar (KremetartByvoegings by Wyn |  | 1 | kg | 35

## Worksheet Templates
Worksheet Templates
title | description | Service | pos | type | sub | dup
Title | Description | Analyses | Position | Type | Reference Definition | Duplicate position
Trace Metals Dry | Trace metals in feeds | Ca,Cu,Fe,Mg,Mn,Na,Zn | 1 | b
|  |  | 2 | c | Trace Metals Dry
|  |  | 3 | a
|  |  | 4 | a
|  |  | 5 | a
|  |  | 6 | a
|  |  | 7 | a
|  |  | 8 | a
|  |  | 9 | a
|  |  | 10 | d |  | 3
Trace Metals Water | Trace metals in water | Ca,Cu,Fe,Mg,Mn,Na,Zn | 1 | b
|  |  | 2 | c | Trace Metals Water
|  |  | 3 | a
|  |  | 4 | a
|  |  | 5 | a
|  |  | 6 | a
|  |  | 7 | a
|  |  | 8 | a
|  |  | 9 | a
|  |  | 10 | d |  | 3
Digestable Energy | Feedstuffs energy | DE,CP,EE,CF,Ash | 1 | b
|  |  | 2 | c | AfconB12
|  |  | 3 | a
|  |  | 4 | a
|  |  | 5 | a
|  |  | 6 | a
|  |  | 7 | a
|  |  | 8 | a
|  |  | 9 | a
|  |  | 10 | d |  | 3
Metabolisable Energy | Feedstuffs energy | ME,CP,EE,CF,Ash | 1 | b
|  |  | 2 | c | AfconB12
|  |  | 3 | a
|  |  | 4 | a
|  |  | 5 | a
|  |  | 6 | a
|  |  | 7 | a
|  |  | 8 | a
|  |  | 9 | a
|  |  | 10 | d |  | 3

## Prefixes
Prefixes
portal_type | prefix | padding
Portal Type | Prefix | Padding
AnalysisRequest | AR- | 4
Sample | S- | 4
Worksheet | WS- | 3
SupplyOrder | O- | 3
Invoice | I- | 4
ARImport | B- | 3
ReferenceSample | RS- | 4
ReferenceAnalysis | RA- | 4