## Instructions
Instructions
Sheet names are case sensitive, and the keys in row 0 are always special.
Sheet order is important – dependencies should be loaded in earlier sheets.
Please also do not edit the last sheet, 'Constants', which is used to populate some of the drop down menus.
Some sheets are linked to their corresponding setup items in the manual. Blue text against grey shading are HTML links.
Grey shaded cells contain validation rules, mostly look-up references and formatting. If you add rows below the shaded areas, copy the shaded cells into the new rows for the best results, ensuring that the validation is applied on the new rows too.
Files to be uploaded, e.g. scans of signatures (jpg) or method documents (pdf), must be available in the same folder as this spreadsheet and only the file name entered into the corresponding cell

## ID Prefixes
portal_type | Object | padding | prefix
Object ID prefixes
portal_type | Data object | Padding | Prefix
AnalysisRequest | Analysis Request | 2 | AR-
Batch | Case | 5 | B-
Sample | Sample | 4 | S-
Worksheet | Worksheet | 4 | WS-
Invoice | Invoice | 4 | I-
ARImport | AR Import | 4 | AI-
ReferenceSample | Reference Sample | 4 | QC-
ReferenceAnalysis | Reference Analysis | 4 | SA-
DuplicateAnalysis | Duplicate Analysis | 4 | D-

## Lab Information
Field | Description | Value
Laboratory and Accreditation Information
| Description | Value
Name | Name | Bika Test Lab
LabURL | Lab web address | http://bika3.bikalabs.com/
Confidence | Confidence level % | 95
LaboratoryAccredited | Laboratory accredited ? | 1
AccreditationBodyLong | Accreditation body title | Example Accreditation Inc
AccreditationBody | Accreditation body abbreviation | SAI
AccreditationBodyURL | Accreditation body web address | sai.example.org
Accreditation | Accreditation standard, e.g ISO 17025 | ISO 17025
AccreditationReference | Lab's accreditation reference number
AccreditationBodyLogo | Accreditation body logo
TaxNumber | Tax number
Phone | Phone number
Fax | Fax number
EmailAddress | Email address | lab@sai.example.org
Physical_Address | Physical address | Number 4, First Street
Physical_City | Physical address city | Little Town
Physical_State | Physical address state | Western Province
Physical_Zip | Physical address zip | 7195
Physical_Country | Physical address country | South Africa
Postal_Address | Postal address | Number 4, First Street
Postal_City | Postal address city | Little Town
Postal_State | Postal address state | Western Province
Postal_Zip | Postal address zip | 7195
Postal_Country | Postal address country | South Africa
Billing_Address | Billing address | Number 4, First Street
Billing_City | Billing address city | Little Town
Billing_State | Billing address state | Western Province
Billing_Zip | Billing address zip | 7195
Billing_Country | Billing address country | South Africa

## Lab Contacts
Salutation | Firstname | Surname | EmailAddress | BusinessPhone | BusinessFax | HomePhone | MobilePhone | JobTitle | Department_title | Username | Password | Groups | Roles | Signature | Physical_Address | Physical_City | Physical_State | Physical_Zip | Physical_Country | Postal_Address | Postal_City | Postal_State | Postal_Zip | Postal_Country
Lab contacts - staff members |  |  |  | Only if a Lab contact is a LIMS user too, does he/she get given a (unique) user name and password, and assigned a role or to a group | [10 empty] | Physical address |  |  |  |  | Postal address
Salutation | First name | Surname | Email address | Business phone | Business fax | Home phone | Mobile phone | Job title | Department | User name | Password | Groups | Roles | Signature | Address | City | State | Zip | Country | Address | City | State | Zip | Country
Mr | Lab | Manager 1 | labmanager1@example.com | 021 555 1234 | 021 555 1233 | 048 813 9515 | 082 555 9910 | Manager | Chemistry | labman1 | labman1 | LabManagers | LabManagers
Ms | Lab | Manager 2 | labmanager2@example.com | 021 555 1236 | 021 555 1233 | 050 866 9887 | 083 555 8108 | Assistant manager | Chemistry | labman2 | labman2 | LabManagers | LabManagers
Ms | Lab | Manager 3 | labmanager3@example.com | 048 813 9254 | 048 813 9323 | 048 813 3719 | 088 846 9783 | Manager | Microbiology | labman3 | labman3 | LabManagers | LabManagers
Mr | Lab | Manager 4 | labmanager4@example.com | 050 866 9582 | 050 866 9747 | 050 866 1220 | 090 869 9791 | Assistant manager | Microbiology | labman4 | labman4 | LabManagers | LabManagers
Mr | Lab | Manager 5 | labmanager5@example.com | 065 463 9615 | 065 463 2791 | 065 463 1715 | 078 813 2950 | Manager | Sampling | labman5 | labman5 | LabManagers | LabManagers
Mr | Lab | Clerk 1 | labclerk1@example.com | 010 417 2743 | 010 417 3007 | 010417 5849 | 073 965 3368 | Sampler | Sampling | labclerk1 | labclerk1 | LabClerks | LabClerks
Mr | Lab | Clerk 2 | labclerk2@example.com | 049 587 7652 | 049 587 3252 | 049 587 9155 | 081 944 4675 | Sampler | Sampling | labclerk2 | labclerk2 | LabClerks | LabClerks
Mr | Lab | Clerk 3 | labclerk3@example.com | 021 555 1234 | 021 555 1233 | 048 813 9515 | 082 555 9910 | Manager | Chemistry | labclerk3 | labclerk3 | LabClerks | LabClerks
Ms | Lab | Analyst 1 | analyst1@example.com | 021 555 1236 | 021 555 1233 | 050 866 9887 | 083 555 8108 | Assistant manager | Chemistry | analyst1 | analyst1 | Analysts | Analysts
Ms | Lab | Analyst 2 | analyst1@example.com | 048 813 9254 | 048 813 9323 | 048 813 3719 | 088 846 9783 | Manager | Microbiology | analyst2 | analyst2 | Analysts | Analysts
Mr | Lab | Analyst 3 | analyst1@example.com | 050 866 9582 | 050 866 9747 | 050 866 1220 | 090 869 9791 | Assistant manager | Microbiology | analyst3 | analyst3 | Analysts | Analysts
Mr | Lab | Verifier 1 | verifier1@example.com | 065 463 9615 | 065 463 2791 | 065 463 1715 | 078 813 2950 | Manager | Sampling | verifier1 | verifier1 | Verifiers | Verifiers
Mr | Lab | Publisher | publisher1@example.com | 010 417 2743 | 010 417 3007 | 010417 5849 | 073 965 3368 | Sampler | Sampling | publisher1 | publisher1 | Publishers | Publishers

## Lab Departments
title | description | LabContact_Username
Lab Departments
Title | Description | Manager
Chemistry | Analytical chemistry department | labman1
Sampling | Sampling & Online Instrumentation | labman1
Admin | Lab administartion and accounts | labman1
Microbiology | Micro-Biological analysis | labman1

## Clients
Name | ClientID | MemberDiscountApplies | BulkDiscount | TaxNumber | Phone | Fax | EmailAddress | Physical_Address | Physical_City | Physical_State | Physical_Zip | Physical_Country | Postal_Address | Postal_City | Postal_State | Postal_Zip | Postal_Country | Billing_Address | Billing_City | Billing_State | Billing_Zip | Billing_Country | AccountNumber
Clients | [7 empty] | Physical Address |  |  |  |  | Postal Address |  |  |  |  | Billing Address
Name | Client ID | Member discount applies? | Bulk discount applies? | Tax number | Phone | Fax | Email address | Address | City | State | Zip | Country | Address | City | State | Zip | Country | Address | City | State | Zip | Country | Account number
Happy Hills | HH | 1 | 0 | SA62914-27121 | 021 555 4220 | 021 555 4220 | happyhills@example.com
Klaymore | KL | 1 | 1 | SA62914-27120 | 021 555 3026 | 021 555 3157 | klaymore@example.com
Mortons | MT | 0 | 0 | SA62914-27119 | 021 555 5264 | 021 555 4557 | morton@example.com
Myrtle | MY | 1 | 1 | SA62914-27118 | 021 555 1901 | 021 555 3417 | mwf@example.com
Norton | NT | 0 | 1 | SA62914-27117 | 021 555 2050 | 021 555 2192 | norton@example.com
Ostrich Products | OP | 0 | 1 | SA62914-27116 | 021 555 1150 | 021 555 1504 | ostriches@example.com
Petersville Co-op | PCO | 0 | 0 | SA62914-27115 | 021 555 1730 | 021 555 1731 | petersville@example.com
Ruff | RUF | 1 | 1 | SA62914-27114 | 021 555 1705 | 021 555 1705 | ruff@example.com
Sunnyside | SS | 1 | 1 | SA62914-27113 | 021 555 1663 | 021 555 3295 | sunnyside@example.com

## Client Contacts
Client_title | Salutation | Firstname | Surname | Username | Password | JobTitle | Department | BusinessPhone | BusinessFax | HomePhone | MobilePhone | EmailAddress | PublicationPreference | CCContacts | AttachmentsPermitted | Physical_Address | Physical_City | Physical_State | Physical_Zip | Physical_Country | Postal_Address | Postal_City | Postal_State | Postal_Zip | Postal_Country
Client Contacts - Staff Members | [15 empty] | Physical Address |  |  |  |  | Postal Address
Client title | Salutation | First name | Surname | User name | Password | Job title | Department | Business phone | Business fax | Home phone | Mobile phone | Email address | Publication preference | Contacts to be cc'd | Attachments permitted | Address | City | State | Zip | Country | Address | City | State | Zip | Country
Happy Hills | Ms | Rita | Mohale | ritamo | ritamo | Product assistant | Chemistry | 038 664 6469 | 038 664 7338 | 038 664 7757 | 082 607 8405 | mohale@example.com | email | Sarel Seemonster | Permitted
Happy Hills | Mr | Sarel | Seemonster | sarelse | sarelse | Manager | Nutrient management | 040 666 6630 | 040 666 7834 | 040 666 7858 | 083 644 8576 | seemonster@example.com | email | Rita Mohale | Permitted
Klaymore | Mr | Neil | Standard | neilst | neilst | Research assistant | Product development | 035 597 5814 | 035 597 6876 | 035 597 6344 | 080 564 7509 | standard@example.com | email | Johanna Smith | Permitted
Klaymore | Ms | Johanna | Smith | johannasm | johannasm | Scientist | Soil science | 036 640 6016 | 036 6406911 | 036 6407167 | 081 569 7909 | smith@example.com | email | Neil Standard | Permitted
Mortons | Mr | Alfie | Faraday | alfiefa | alfiefa | Product assistant | Product development | 029 569 4286 | 029 569 5689 | 029 569 3575 | 076 405 6031 | faraday@example.com | email | Bibi Moeketsi | Permitted
Mortons | Ms | Bibi | Moeketsi | bibimo | bibimo | Research assistant | Microbiology | 031 572 4880 | 031 572 6139 | 031 572 5496 | 077 432 6402 | moeketsi@example.com | email | Alfie Faraday | Permitted
Myrtle | Mr | Fred | Turner | fredtu | fredtu | QC manager | Production | 041 670 6654 | 041 6708002 | 041 670 8848 | 084 677 8884 | turner@example.com | email | Anne Livingstone | Permitted
Myrtle | Ms | Anne | Livingstone | anneli | anneli | Chemist | Product development | 043 686 7287 | 043 686 8770 | 043 686 9006 | 085 744 8920 | livingstone@example.com | email | Fred Turner | Permitted
Norton | Mr | Carl | Bennett | carlbe | carlbe | QC manager | Chemistry | 020 307 2324 | 020 307 2050 | 020 307 2013 | 070 144 2178 | bennett@example.com | email | Chiel Fransman | Permitted
Norton | Mr | Chiel | Fransman | chielfr | chielfr | Product assistant | QM | 021 321 3054 | 021 321 2470 | 021 321 2060 | 071 186 3359 | fransman@example.com | email | Carl Bennett | Permitted
Ostrich Products | Ms | Karen | Leonard | karenle | karenle | Research assistant | Chemistry | 022 473 3711 | 022 473 3907 | 022 473 2587 | 072 231 4216 | leonard@example.com | email | Petrie Dlamini | Permitted
Ostrich Products | Ms | Petrie | Dlamini | petriedl | petriedl | QC manager | Production | 023 510 3979 | 023 5104307 | 023 5102886 | 073 300 4697 | dlamini@example.com | email | Karen Leonard | Permitted
Petersville Co-op | Ms | Gillian | Foster | gillianfo | gillianfo | Product assistant | R&D | 045 729 8972 | 045 729 8771 | 045 729 9142 | 086 768 9018 | foster@example.com | email | Judge Tshabala | Permitted
Petersville Co-op | Dr | Judge | Tshabala | judgets | judgets | Consultant | Chemistry | 047 787 9166 | 047 787 9227 | 047 787 9249 | 087 786 9610 | tshabala@example.com | email | Gillian Foster | Permitted
Ruff | Mr | Chris | Ruffian | chrisru | chrisru | Controller | Chemistry | 025 557 4204 | 025 557 4531 | 025 557 3131 | 074 304 5021 | ruffian@example.com | email | Bjork Eisteddfod | Permitted
Ruff | Ms | Bjork | Eisteddfod | bjorkei | bjorkei | Admin assistant | R&D | 026 561 4280 | 026 561 5217 | 026 561 3187 | 075 3105215 | eistedfodd@example.com | email | Chris Ruffian | Permitted
Sunnyside | Mr | Andre | Corbin | andreco | andreco | Administrator | R&D | 032 586 5303 | 032 586 6331 | 032 586 5622 | 078 469 7035 | corbin@example.com | email | Churchill van de Merwe | Permitted
Sunnyside | Dr | Churchill | van de Merwe | churchillvd | churchillvd | QC manager | Chemistry | 033 594 5575 | 033 594 6673 | 033 594 5761 | 079 524 7454 | vandermerwe@example.com | email | Andre Corbin | Permitted

## Container Types
title | description
Sample Container Types
Title | Description
Glass bottle | Screw top glass bottles
Plastic bottle | Screw top plastic bottles
Plastic ziplock bag | Plastic pouches, airtight seal
Canvas bag | Strong canvas bag for soil samples
Vacutainer | Sterile plastic tube, evacuated

## Preservations
title | description | RetentionPeriod_days | RetentionPeriod_hours | RetentionPeriod_minutes
Types of Sample Preservation |  | (Retention Period Is Required)
Title | Description | Retention period - days | Retention period - hours | Retention period - minutes
Chill (4 degrees) | Chill sample to 4 degrees C | 2 | 0 | 0
H2SO4 | pH < 2 | 2 | 0 | 0
HNO3 | pH 2 | 2 | 0 | 0
Na2SO4 |  | 2 | 0 | 0

## Containers
title | description | Capacity | ContainerType_title | PrePreserved | Preservation_title
Sample Containers
Title | Description | Capacity | Container type title | Pre-preserved? | Preservation title
Glass Bottle 500ml | Glass Bottle 500ml | 500 ml | Glass bottle | 0
AAS Glass Bottle 1 Liter | Glass Bottle 1 Liter | 1 l | Glass bottle | 0
Plastic Bottle 1 Liter | Plastic Bottle 1 Liter | 1 l | Plastic bottle | 0
Chem Plastic Bottle 2 Litre | Chem Plastic Bottle 2 Litre | 2 l | Plastic bottle | 0
Micro Glass Bottle 500ml | For Micro Testing | 500 ml | Glass bottle | 0

## Sample Matrices
title | description
Sample Matrices – 'Sample Type categories'
Title | Description
Animal feed | Animal feed products
Water | Different type water samples
Fiber | Raw animal fodder
Industrial Effluent | Industrial Effluent
Sewage | Sewage
Grain | Grain
Fruit & Veg | Fruit & Veg
Fertiliser | Fertiliser
Human food | Human food
Dust | Dust

## Sample Types
title | description | RetentionPeriod | Hazardous | SampleMatrix_title | Prefix | MinimumVolume | ContainerType_title
Sample Types
Title | Description | Retention period (days) | Hazardous | Sample matrix | Prefix | Minimum volume or weight | Container type
Apple Pulp | Chilled apple pulp | 10 | 0 | Fruit & Veg | AP | 100 g | Plastic ziplock bag
Barley | Whole grains | 10 | 0 | Grain | BAR | 100 g | Plastic ziplock bag
Blood Meal | Dry powder | 10 | TRUE | Animal feed | BM | 100 g | Plastic ziplock bag
BR Grower | Green pellets | 10 | 0 | Animal feed | BRG | 100 g | Plastic ziplock bag
BR Starter | Red pellets | 10 | 0 | Animal feed | BRS | 100 g | Plastic ziplock bag
Bran | No whole grains | 10 | 0 | Grain | BR | 100 g | Plastic ziplock bag
Canola | Whole grains, not crushed or milled | 10 | 0 | Grain | CN | 100 g | Plastic ziplock bag
Carcass Meal | Dry. Keep refrigerated | 10 | TRUE | Animal feed | CM | 100 g | Plastic ziplock bag
Catfish | Fresh, chilled | 10 | TRUE | Animal feed | CT | 100 g | Plastic ziplock bag
Dist. Grain | Whole grains, not crushed or milled | 10 | 0 | Grain | DG | 100 g | Plastic ziplock bag
Dog pellets | Dry pellets | 10 | 0 | Animal feed | DP | 100 g | Plastic ziplock bag
Dust | Keep dry | 10 | 0 | Dust | DU | 100 g | Plastic ziplock bag
Fish Feed | Pellets | 10 | 0 | Animal feed | FF | 100 g | Plastic ziplock bag
Fish meal | Powder. Keep sealed | 10 | TRUE | Animal feed | FM | 100 g | Plastic ziplock bag
Gluten | White powder | 10 | 0 | Animal feed | GLU | 100 g | Plastic ziplock bag
Grower Concentrate | Brown syrup | 10 | 0 | Animal feed | GC | 100 g | Plastic ziplock bag
Silage | Moist or dry. Oats only | 10 | 0 | Fiber | HK | 100 g | Plastic ziplock bag
Hay | Moist or dry. Any cultivar | 10 | 0 | Fiber | HAY | 100 g | Plastic ziplock bag
Lime | Fine powder | 10 | 0 | Fertiliser | L | 100 g | Plastic ziplock bag
Lime Grit | Coarse | 10 | 0 | Fertiliser | LG | 100 g | Plastic ziplock bag
Lohman Breeder | Chicken feed for egg-laying hens | 10 | 0 | Animal feed | LB | 100 g | Plastic ziplock bag
Lohman Developer | Chicken feed, broiler house | 10 | 0 | Animal feed | LD | 100 g | Plastic ziplock bag
Lohman Organic | Organic chicken feed | 10 | 0 | Animal feed | LO | 100 g | Plastic ziplock bag
Lucerne | Dry or moist. Must be 99% Lucerne | 10 | 0 | Fiber | LUC | 100 g | Plastic ziplock bag
Lupins | Whole grains | 10 | 0 | Grain | LUP | 100 g | Plastic ziplock bag
Milk Powder | Powdered. Keep dry | 10 | TRUE | Human food | MP | 100 g | Plastic ziplock bag
Mono Calphos | Organic fertilizer | 10 | TRUE | Fertiliser | MC | 100 g | Plastic ziplock bag
Nulaid | Nulaid feed for egg producing hens | 10 | 0 | Animal feed | NU | 100 g | Plastic ziplock bag
Parrot Food | Grains | 10 | 0 | Animal feed | PF | 100 g | Plastic ziplock bag
Pig Growth | Mixed grain, mainly maize | 10 | 0 | Animal feed | PG | 100 g | Plastic ziplock bag
Potato | Fresh potato | 10 | 0 | Human food | POT | 100 g | Plastic ziplock bag
Soya | Whole seeds | 10 | 0 | Grain | SOY | 100 g | Plastic ziplock bag
Straw | Moist or dry. Any cultivar | 10 | 0 | Fiber | ST | 100 g | Plastic ziplock bag
Sunflower | Whole grains | 10 | 0 | Grain | SON | 100 g | Plastic ziplock bag
Trout Fry Meal | Pellets. Strong odour | 10 | TRUE | Animal feed | TF | 100 g | Plastic ziplock bag
Water | Potable or river water. Not sewage | 10 | TRUE | Water | WH | 100 ml | Glass bottle
Wheat | Whole grains | 10 | TRUE | Grain | WH | 100 g | Plastic ziplock bag
Whey | Cheese factory by product. Keep refrigerated | 10 | TRUE | Animal feed | WH | 100 g | Glass bottle
White Maize | Whole grains | 10 | 0 | Grain | WM | 100 g | Plastic ziplock bag
Yellow Maize | Whole grains | 10 | 0 | Grain | YM | 100 g | Plastic ziplock bag

## Sample Points
Client_title | title | description | Latitude | Longitude | Elevation | Composite | SampleType_title
Sample Points
Client title | Title | Description | Latitude | Longitude | Elevation | Composite? | Sample type title
| Borehole 12 | Farm borehole for sheep |  |  |  | 0 | Water
| Broiler House W | Western broiler house |  |  |  | 0
| Rooikloof Farm | Potato fields |  |  |  | 0
| Dry stock | On production line 2 |  |  |  | 0
| Mill | On production line 2 |  |  |  | 0
| Mixer | On production line 2 |  |  |  | 0
| Packaging | On production line 2 |  |  |  | 0
| Dispatch | On production line 2 |  |  |  | 0
| Bruma Lake | Public lake |  |  |  | 0 | Water
| Shop – BB Supermarket | From the shelves |  |  |  | 0
| Abattoir | Gross |  |  |  | 0

## Sample Point Sample Types
SamplePoint_title | SampleType_title
Sample Point Sample Types
Sample point | Sample type

## Methods
title | description | Instructions | MethodDocument
Analysis Methods
Title | Description | Instructions | Method document
Titration | A titration is a method of analysis that will allow you to determine the precise endpoint of a reaction and therefore the precise quantity of reactant in the titration flask. A buret is used to deliver the second reactant to the flask and an indicator of pH Meter is used to detect the endpoint of the reaction | Lorem ipsum dolor sit amet, dis laoreet eleifend wisi, phasellus adipiscing maecenas enim pharetra fermentum, mauris arcu sed quis, ante eros eleifend mollis integer lorem. Pulvinar et porttitor, velit id gravida quisque. Porttitor maecenas proin augue.
RT-PCR | Reverse Transcriptase Polymerase Chain Reaction - Powerful technique for producing millions of copies of specific parts of the genetic code of an organism so that it may be readily analyzed. More specifically, RT-PCR produces copies of a specific region of complementary DNA that has been converted from RNA. The technique is often used to help in the identification of an infectious agent | Vestibulum eget tincidunt ipsum mauris suspendisse, dictum at, faucibus habitasse consequat, orci turpis in sed amet ut, ullamcorper pellentesque semper ipsum magna sit. Amet odio erat bibendum, ac amet officiis erat, donec ultricies tincidunt orci.
QuEChERS | QuEChERS (pronounced Catchers), an acronym for Quick, Easy, Cheap, Effective, Rugged and Safe, is a sample extraction and clean-up technique widely used for the analysis of multiple residues in hydrated agricultural product | Mauris suspendisse nulla tempus, dolore ante. Mollis nunc. Sed dui nibh ultrices parturient, at porta in, dapibus pretium urna luctus sed donec amet, in nulla consectetuer nec ultrices euismod volutpat. Lacus felis nulla nunc. At a luctus pharetra justo varius orci, cursus neque blandit semper eu ipsum, vitae id rutrum, id scelerisque. Libero suscipit sem etiam quis, aenean mi rutrum, bibendum eget felis donec libero imperdiet ullamcorper.
FIA | Flow Injection Analysis - microchemical technique to automate wet chemical methods. In a FIA system, a carrier solution and the chemical reagents are continuously pumped through tubes, mixing coils and finally through a flow cell in a detector. A small portion of the sample is injected into the carrier. The carrier merges with one or more reagents to produce a chemical reaction. The resulting colour change in the sample zone is measured in the detector. The time between injection and detection is typically 1 minute. The dispersion or dilution of the sample zone is controlled by the system components, i.e. injected volume, flow rates and length and diameter of the tubing. When the dispersed sample zone reaches the flow cell of the detector neither the chemical reaction nor the dispersion process must have reached completion or a steady state. Keeping identical conditions for both samples and standards makes evaluation and quantification reproducible and precise | Eget urna gravida luctus. Vestibulum faucibus vel, lacinia vivamus. Vel quam et amet mauris, massa ut, amet amet elit, velit leo arcu sapien. At a dolor, pellentesque morbi lorem maecenas ut sit nunc, risus nec vel scelerisque, lobortis in mauris wisi justo, arcu eu mus vel turpis erat odio.
Elution | The process of extracting one material from another by washing with a solvent to remove adsorbed material from an adsorbent, as in washing of loaded ion-exchange resins to remove captured ions | Amet luctus in ante. Phasellus erat vel id posuere purus. Donec eu a libero vel donec justo, nibh sollicitudin et ipsum molestie. Neque congue magna, cras natoque lectus consectetuer, class dolor ut a erat, ultrices non mauris elementum pede, odio praesent cupidatat arcu.
ELISA | Enzyme-linked immunosorbent assay - A sensitive technique for accurately determining specific molecules in a mixed sample. The amount of protein or other antigen in a given sample is determined by means of an enzyme-catalysed colour change, avoiding both the hazards and expense of radioactive techniques. www.fao.org. an assay that relies on an enzymatic conversion reaction and is used to detect the presence of specific substances such as enzymes or viruses or antibodies or bacteria. wordnet.princeton.edu. A positive ELISA test generally is confirmed by the Western Blot test Method document: | Diam accumsan litora arcu lectus. Ut perferendis scelerisque a, vel leo sodales ac at venenatis bibendum. Nec dolor metus, nam non dictum leo. Justo vestibulum elit ac vestibulum ac, venenatis nibh est nec vulputate ultricies lacus, proin penatibus sem vestibulum, orci ipsum lectus nobis. Amet mus vitae est quisque, at in amet nulla nulla sagittis ultricies, gravida at eros nunc in vitae scelerisque, mattis ullamcorper rutrum, felis maecenas gravida pede blandit.
AES | Auger Electron Spectroscopy - Auger (pronounced ~o-jay) electron spectroscopy is an electron spectroscopic method that uses a beam of electrons to knock electrons out of inner-shell orbitals. Auger electrons are ejected to conserve energy when electrons in higher shells fill the vacancy in the inner shell. These Auger electrons have energies characteristic of the emitting atom due to the characteristic energy-level structure of that element | Donec senectus elit luctus dignissim, lorem vitae neque, nec est gravida lorem ultricies egestas ultrices, quam dolor mi amet. Ac elit pellentesque, mauris et, fermentum ut tellus arcu nonummy, justo dui ut ad taciti rhoncus vel. Proin sed diam consequat, in sed vivamus ultricies metus ac lectus. Massa imperdiet et, nunc vel sed elementum aenean sed a, nec ipsum ligula voluptate iaculis minim sodales, nibh lorem proin taciti quam.
12 dB SINAD | The most common use of the SINAD measurement is to assess the sensitivity performance of a radio receiver. To achieve this the sensitivity can be assessed by determining the RF input level at the antenna that is required to achieve a given figure of SINAD. Normally a SINAD value of 12 dB is taken as this corresponds to a distortion factor of 25%, and a modulating tone of 1 kHz is used. It is also necessary to determine other conditions. For AM it is necessary to specify the depth of modulation and for FM the level of deviation is required. For FM analogue systems ETSI specifies the use of a deviation level of 12.5% of the channel spacing A typical specification might be that a receiver has a sensitivity of 0.25 uV [microvolts] for a 12 dB SINAD. Obviously the lower the input voltage needed to achieve the given level of SINAD, the better the receiver performance. | Ante sit morbi habitasse, risus augue velit tellus augue, enim sit vitae a. Massa leo, hymenaeos quam, dolor leo nullam nulla, dictumst dolor, donec nonummy tincidunt primis ligula erat.
Protein Spectroscopy | Spectroscopic Methods for Analysis of Protein Secondary Structure | Mauris viverra, porta convallis potenti molestie tellus, sit lacus vehicula sit pellentesque pellentesque faucibus. Risus arcu, est ultrices duis leo quis, tortor senectus tellus orci dapibus id. Fusce curae rutrum odio, ipsum amet amet, quis ut leo vitae eget tempor, pulvinar ut aptent at quam, magna enim vulputate sed et eum eu. Ut pellentesque suscipit adipiscing, nunc donec lacus tortor sed cursus, nec sed.
Infrared Spectrometry |  | Amet luctus in ante. Phasellus erat vel id posuere purus. Donec eu a libero vel donec justo, nibh sollicitudin et ipsum molestie. Neque congue magna, cras natoque lectus consectetuer, class dolor ut a erat, ultrices non mauris elementum pede, odio praesent cupidatat arcu. Ante sit morbi habitasse, risus augue velit tellus augue, enim sit vitae a. Massa leo, hymenaeos quam, dolor leo nullam nulla, dictumst dolor, donec nonummy tincidunt primis ligula erat.
Maldi-tof | Maldi-tof mass Spectrometry of Bacteria | Diam accumsan litora arcu lectus. Ut perferendis scelerisque a, vel leo sodales ac at venenatis bibendum. Nec dolor metus, nam non dictum leo. Justo vestibulum elit ac vestibulum ac, venenatis nibh est nec vulputate ultricies lacus, proin penatibus sem vestibulum, orci ipsum lectus nobis. Amet mus vitae est quisque, at in amet nulla nulla sagittis ultricies, gravida at eros nunc in vitae scelerisque, mattis ullamcorper rutrum, felis maecenas gravida pede blandit.

## Manufacturers
title | description
Manufacturers
Title | Description
Cropscan
Blott
Bavarian
Pelmer Erkin
Yatsi
Fermo Thisher
Beica
Neiss
NIRTech
Bade Dehring
Deckban
Bunico
Bach
Darl Nischer
Fermo Tisher
Bartorius
Bohaus
Boss

## Suppliers
Name | TaxNumber | Phone | Fax | EmailAddress | Physical_Address | Physical_City | Physical_State | Physical_Zip | Physical_Country | Postal_Address | Postal_City | Postal_State | Postal_Zip | Postal_Country | Billing_Address | Billing_City | Billing_State | Billing_Zip | Billing_Country | AccountNumber
Suppliers |  |  |  |  | Physical Address |  |  |  |  | Postal Address |  |  |  |  | Billing Address
Name | Tax Number | Phone | Fax | Email Address | Address | City | State | Zip | Country | Address | City | State | Zip | Country | Address | City | State | Zip | Country | AccountNumber
Instruments default supplier | 12345 | 012 440 9555 | 012 440 9765 | supplier@example.com
Reference Supplies | 12345 | 012 440 8445 | 012 440 8447 | supplier@example.com

## Supplier Contacts
Supplier_Name | Salutation | Firstname | Surname | JobTitle | Department | BusinessPhone | BusinessFax | HomePhone | MobilePhone | EmailAddress | Physical_Address | Physical_City | Physical_State | Physical_Zip | Physical_Country | Postal_Address | Postal_City | Postal_State | Postal_Zip | Postal_Country
Supplier Contacts | [10 empty] | Physical Address |  |  |  |  | Postal Address
Supplier Name | Salutation | First name | Surname | Job Title | Department | Business Phone | Business Fax | Home Phone | Mobile Phone | EmailAddress | Address | City | State | Zip | Country | Address | City | State | Zip | Country
Reference Supplies | Mr | Bob | Dobson | Salesman | Sales | 028 274 8819 | 086 222 3600 |  | 089 445 0440 | dobson@example.come | 1 main street | Pringle Bay | Western Province
Instruments default supplier | Mr | Bob | Dobson | Salesman | Sales | 028 274 8819 | 086 222 3600 |  | 089 445 0440 | dobson@example.come | 1 main street | Pringle Bay | Western Province

## Instrument Types
title | description
Instrument Types
Title | Description
NIR
Auto titrator
AA
Conductivity Meter
Mass Spectrometer
Microscope
Protein Analyser
Spectrophotometer
Turbidity Meter
Un/Vis Spectrophotometer
Incubator
Electronic balance
Fiastar

## Instruments
title | description | Type | Brand | Supplier | Model | SerialNo | CalibrationCertificate | CalibrationExpiryDate | DataInterface | DataInterfaceOptions
Lab Instruments |  | Instruments
Title | Description | Instrument type | Brand/Manufacturer | Supplier | Model | Serial no | Calibration certificate | Calibration expiry date | Data interface | Data interface options
CropScan | Bench top grain analyser, Desk3 | NIR | Cropscan | Instruments default supplier | 2000B | 30308 | SANCal 11/6010 | 2012-12-12
Blott Titrator | Automatic volumetric titrator | Auto titrator | Blott | Instruments default supplier | PFT2000 | 39515 | SANCal 11/8236 | 2012-12-12
AA 1 | Atomic Absorption | AA | Bavarian | Instruments default supplier | AAziczic | 58227 | SANCal 11/5783 | 2012-12-12
AA 2 | Atomic Absorption Spectrophotometer | AA | Pelmer Erkin | Instruments default supplier | 5000m | 79514 | SANCal 11/4545 | 2012-12-12
Conductivity meter | Liquids Conductivity Meter | Conductivity Meter | Yatsi | Instruments default supplier | 1010 | 35453 | SANCal 11/3691 | 2012-12-12
Spectrometer 1 | Mass Spectrometer | Mass Spectrometer | Fermo Thisher | Instruments default supplier | TSQ 7000 | 43516 | SANCal 11/5953 | 2012-12-12
Microscope (Beica) | Optical Microscope | Microscope | Beica | Instruments default supplier | CosmoStar IV | 80586 | SANCal 11/2475 | 2012-12-12
Microscope (Neiss) | Optical Microscope | Microscope | Neiss | Instruments default supplier | RX Stellar | 32128 | SANCal 11/5577 | 2012-12-12
NIRTech | Near Infra-red Transmission Analyser | NIR | NIRTech | Instruments default supplier | Series 2000 | 66153 | SANCal 11/4059 | 2012-12-12
Protein Analyser | Proteins | Protein Analyser | Bade Dehring | Instruments default supplier | Turbsolve 12 | 63453 | SANCal 11/8772 | 2012-12-12
Spectrometer 2 | Spectrophotometer | Spectrophotometer | Deckban | Instruments default supplier | FUD-55 | 27204 | SANCal 11/2593 | 2012-12-12
Spectrometer 3 | Spectrophotometer | Spectrophotometer | Bunico | Instruments default supplier | 1001 | 37860 | SANCal 11/2757 | 2012-12-12
Bach | Turbidity Meter | Turbidity Meter | Bach | Instruments default supplier | XRatio 1 | 27605 | SANCal 11/5877 | 2012-12-12
Spectrometer 4 | Un/Vis Spectrophotometer | Un/Vis Spectrophotometer | Pelmer Erkin | Instruments default supplier | Delta 3Z | 77142 | SANCal 11/6977 | 2012-12-12
Titrator station 1 | Volumetric Titrator | Auto titrator | Darl Nischer | Instruments default supplier | TJ100 | 75888 | SANCal 11/7889 | 2012-12-12
Incubator 1 | Old incubator | Incubator | Fermo Tisher | Instruments default supplier | Scientific Midi 12 | 41163 | SANCal 11/2837 | 2012-12-12
Incubator 2 | New incubator | Incubator | Fermo Tisher | Instruments default supplier | Scientific Midi 40 | 32921 | SANCal 11/4648 | 2012-12-12
Balance at reception | Precision weighing balance | Electronic balance | Bartorius | Instruments default supplier | DIK50 Mark II | 32128 | SANCal 11/5577 | 2012-12-12
Lab Balance 1 | Precision weighing balance | Electronic balance | Bohaus | Instruments default supplier | BB22DD | 66153 | SANCal 11/4059 | 2012-12-12
Lab Balance 2 | Precision weighing balance | Electronic balance | Bohaus | Instruments default supplier | BB22DD | 63453 | SANCal 11/8772 | 2012-12-12
Fiastar | FIA Star v1 and v2 | Fiastar | Boss | Instruments default supplier | Fiastar | 37877 | SANCal 11/8773 | 2012-12-12 | Fiastar

## Instrument Validations
title | instrument | downfrom | downto | validator | considerations | workperformed | remarks
Instrument Validations
Title | Instrument | Down from | Down to | Validator | Considerations | Work performed | Remarks
Conductivity validation | Conductivity meter | 2013-01-01 | 2013-01-10 | John Steerling | Check if instrument is plugged before | Some measuraments using salty water
Precision check routine | Lab Balance 1 | 2013-02-02 | 2013-02-02 | Iona Smith

## Instrument Calibrations
title | instrument | downfrom | downto | calibrator | considerations | workperformed | remarks
Instrument Calibrations
Title | Instrument | Down from | Down to | Calibrator | Considerations | Work performed | Remarks
Spectro calibration | Spectrometer 1 | 2013-01-01 | 2013-01-04 | Professional Calibrations Inc.
Spectro calibration 2 | Spectrometer 2 | 2013-02-02 | 2013-01-05 | Professional Calibrations Inc. | Easiest to calibrate than Spectro 1

## Instrument Certifications
title | instrument | date | validfrom | validto | agency | remarks
Instrument Certifications
Certification code | Instrument | Date | Valid from | Valid to | Agency | Remarks
SANCal 11/6010 | CropScan | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/8236 | Blott Titrator | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/5783 | AA 1 | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/4545 | AA 2 | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/3691 | Conductivity meter | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/5953 | Spectrometer 1 | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/2475 | Microscope (Beica) | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/5577 | Microscope (Neiss) | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/4059 | NIRTech | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/8772 | Protein Analyser | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/2593 | Spectrometer 2 | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/2757 | Spectrometer 3 | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/5877 | Bach | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/6977 | Spectrometer 4 | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/7889 | Titrator station 1 | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/2837 | Incubator 1 | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/4648 | Incubator 2 | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/5577 | Balance at reception | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/4059 | Lab Balance 1 | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/8772 | Lab Balance 2 | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/8773 | Fiastar | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 13/6011 | CropScan | 2013-01-01 | 2013-01-03 | 2013-12-12 | SANCal

## Instrument Maintenance Tasks
title | description | instrument | type | downfrom | downto | maintaner | considerations | workperformed | cost | closed | remarks
Instrument Maintenance Tasks
Title | Description | Instrument | Type | Down from | Down to | Maintainer | Considerations | Work performed | Cost | Closed | Remarks
Spectro 1 cleaning | Cleaning of the Spectrometer 1 | Spectrometer 1 | Preventive | 2013-01-01 | 2013-01-02 | John Steerling |  |  | 120 | 1
Lents replacement | Replacement of lents | Microscope (Neiss) | Enhancement | 2013-02-02 | 2013-02-05 | Neiss |  |  | 357 | 1
Repair connector | Repair connector of the electronic device | Lab Balance 2 | Repair | 2013-01-12 | 2013-01-18 | Balances and more |  |  | 320 | 1

## Instrument Schedule
title | description | instrument | type | date | numrepeats | periodicity | repeatuntil | considerations
Instrument Schedule
Ttile | Description | Instrument | Type | Date | Repeat... | … every | Repeat until | Considerations

## Analysis Categories
title | description | Department_title
Analysis Categories
Title | Description | Department
Feedstuff Chemistry | Diverse dry chemistry | Chemistry
Energy | Energy values of feeds | Chemistry
Metals | Trace metals in feeds and water | Chemistry
Microbiology | Micro-Biological analyses grouped together | Microbiology
Miscellaneous | If it does not fit in anywhere else, put it here | Chemistry
Protein | Protein content of feeds, fresh produce and meat | Chemistry
Toxin | Toxins in feed and fresh produce | Chemistry
Water Chemistry | These apply to water only | Chemistry

## Calculations
title | description | Formula
Results Calculations
Title | Description | Formula
Titration | Standard titration | [TV] * [TF]
Weight Loss | Weight loss as % moisture | ( [GM] - [NM] ) / ( [GM] - [VM] ) * 100
Weight Loss (tare) | Weight loss (tare) as % moisture | (( [VM] + [SM] - [NM] ) / [SM] ) * 100
Residual Weight | Residual Weight as % ash | (( [NM] - [VM] ) / ( [GM] - [VM] )) * 100
Residual Weight (tare) | Residual Weight (tare) as % ash | (( [NM] - [VM] ) / [SM] ) * 100
Dry Matter | Percentage dry matter. Dependent on Moisture Analysis | 100 - [Moist]
Digestible Energy | Very simple DE calculation | 17.38 + [CP] + [EE] - [CF] - [Ash]
TSO2 | TSO2 | [concentration]
FSO2 | FSO2 | [concentration]

## Calculation Interim Fields
Calculation_title | keyword | title | hidden | value | unit
Interim fields used in calculations
Calculation title | Keyword | Field Title | Hidden | Default value | Unit
Titration | TV | Titr Vol | 0 | ml
Titration | TF | Titr Fact | 0
Weight Loss | GM | Gross Mass | 0 | g
Weight Loss | NM | Nett Mass | 0 | g
Weight Loss | VM | Vessel Mass | 0 | g
Weight Loss (tare) | SM | Sample Mass | 0 | g
Weight Loss (tare) | NM | Nett Mass | 0 | g
Weight Loss (tare) | VM | Vessel Mass | 0 | g
Residual Weight | GM | Gross Mass | 0 | g
Residual Weight | NM | Nett Mass | 0 | g
Residual Weight | VM | Vessel Mass | 0 | g
Residual Weight (tare) | SM | Sample Mass | 0 | g
Residual Weight (tare) | NM | Nett Mass | 0 | g
Residual Weight (tare) | VM | Vessel Mass | 0 | g
FSO2 | concentration | Concentration | 0
TSO2 | concentration | Concentration | 0

## Analysis Services
title | description | Keyword | PointOfCapture | AnalysisCategory_title | Department_title | ReportDryMatter | Attachment | Unit | Precision | MaxTimeAllowed_days | MaxTimeAllowed_hours | MaxTimeAllowed_minutes | Price | BulkPrice | VAT | Method | Instrument_title | Calculation_title | DuplicateVariation | Accredited | Uncertainties | Result Value | Range Min | Range Max
Analysis Services - The 'tests' Offered By The Lab | [9 empty] | Maximum Turnaround Time
Title | Description | Keyword | Point of capture | Analysis category | Lab department | Can be reported as dry matter? | Results file attachment permitted | Unit | Precision | Days | Hours | Minutes | Price | Bulk price | Vat | Method | Instrument | Calculation | Duplicate variation % | Accredited
Temperature | Temperature at time of sample capture | Temp | field | Water Chemistry | Sampling | 0 | Permitted | Deg. C | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 0
pH (field) | pH measured at sample capture | pHField | field | Water Chemistry | Sampling | 0 | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 0
Aflatoxins Total | HPLC, Immuno-fluorescence, Immuno-chemical techniques | Aflatox | lab | Toxin | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
Ash | The sample is heated in a muffle furnace to remove organic material. The remaining residue of mineral ash is determined by differential weighing before and after heating | Ash | lab | Miscellaneous | Chemistry | TRUE | Permitted | % | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Residual Weight | 10 | 0
Calcium |  | Ca | lab | Metals | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Titration | 10 | 0
Chlorides |  | Clide | lab | Water Chemistry | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
Chlorine residual |  | Cl | lab | Water Chemistry | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Titration | 10 | 0
COD |  | COD | lab | Water Chemistry | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 0
Conductivity @ 25 deg C |  | Conductivity | lab | Miscellaneous | Chemistry | 0 | Permitted | mS/m | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
Copper |  | Cu | lab | Metals | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 0
Ether Extract |  | EE | lab | Energy | Chemistry | 0 | Permitted | % | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
Fat Crude |  | FatCrude | lab | Energy | Chemistry | 1 | Permitted | % | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Weight Loss (tare) | 10 | 0
Fibre - ADF |  | FibADF | lab | Energy | Chemistry | 1 | Permitted | % | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Weight Loss | 10 | 0
Fibre - Crude |  | CF | lab | Energy | Chemistry | 1 | Permitted | % | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
Fibre - NDF |  | NDF | lab | Energy | Chemistry | 1 | Permitted | % | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Residual Weight (tare) | 10 | 0
Fluoride |  | F | lab | Metals | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 0
Iron |  | Fe | lab | Metals | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 0
Lignin |  | Lignin | lab | Protein | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Residual Weight | 10 | 1
Magnesium |  | Mg | lab | Metals | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 0
Manganese |  | Mn | lab | Metals | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 0
Moisture | Dry sample and container are captured. The result is determined by the formula: (wet sample - dry sample) / (wet sample - container) | Moist | lab | Miscellaneous | Chemistry | 0 | Permitted | % | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Weight Loss | 10 | 1
Nitrates & Nitrites |  | N | lab | Metals | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 0
Phosphorus |  | Phos | lab | Metals | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 0
pH (laboratory) |  | pH | lab | Miscellaneous | Chemistry | 0 | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 0
Phosphorus Total |  | PhosTot | lab | Miscellaneous | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 0
Protein - ADIP |  | ADIPP | lab | Protein | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
Protein - NDIP |  | NDIPP | lab | Protein | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Titration | 10 | 0
Protein (KOH Solubility) | KOH solubility method for testing protein | KOHP | lab | Protein | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 0
Protein (Soluble) | Principle: The sample is incubated in a buffered artificial saliva solution to solubilise the protein. The difference between the nitrogen in the filter paper residue and that in original sample gives the soluble protein fraction. Reference: ALASA method 4.5 | SP | lab | Protein | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 0
Protein Crude |  | CP | lab | Protein | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
Sodium |  | Na | lab | Metals | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 0
Starch |  | STA | lab | Energy | Chemistry | 0 | Permitted | % | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
Sugars | Total sugars as invert sugar | SUG | lab | Energy | Chemistry | 0 | Permitted | % | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 0
Sulphate |  | SO4 | lab | Miscellaneous | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 0
Suspended solids | Suspended solid testing methods | SS | lab | Water Chemistry | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
TDS (calculated) |  | CTDS | lab | Water Chemistry | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 0
Tot. Alkalinity (CaCO3) |  | CaCO3 | lab | Water Chemistry | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 0
Tot. Hardness (THCaCO3) |  | THCaCO3 | lab | Water Chemistry | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
Urea |  | Urea | lab | Miscellaneous | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 0
Zinc |  | Zn | lab | Metals | Chemistry | 0 | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
Dry Matter | Description for percentage dry matter. Dependant on Moisture | DM | lab | Miscellaneous | Chemistry | 0 | Permitted | % | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Dry Matter | 10 | 0
DE – Digestible Energy | DE is used for pig feeds | DE | lab | Energy | Chemistry | 0 | Permitted | MJ/kg | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Digestible Energy | 10 | 1
Clostridia | ISO incubation method | Clos | lab | Microbiology | Microbiology | 0 | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 0
Enterococcus | ISO incubation method | Entero | lab | Microbiology | Microbiology | 0 | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
Ecoli | ISO incubation method | Ecoli | lab | Microbiology | Microbiology | 0 | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 0
Salmonella | ISO incubation method | Salmon | lab | Microbiology | Microbiology | 0 | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 0
Ecoli Count | ISO incubation method | Ecolicnt | lab | Microbiology | Microbiology | 0 | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
Enterococcus count | ISO incubation method | Enterocnt | lab | Microbiology | Microbiology | 0 | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 0
Total Viable Bacteria count | ISO incubation method | TVBcnt | lab | Microbiology | Microbiology | 0 | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
FS02 | Fiastar FSO2 | FSO2 | lab | Miscellaneous | Chemistry | 0 | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | FSO2 | 10 | 0
TSO2 | Fiastar TSO2 | TSO2 | lab | Miscellaneous | Chemistry | 0 | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | TSO2 | 10 | 1

## AnalysisService InterimFields
Service_title | keyword | title | value | unit
Interim Fields Used In Analysis Services
Service Title | Keyword | Field Title | Default value | Unit

## AnalysisService ResultOptions
Service_title | ResultText | ResultValue
Analysis Services results options
Title | Result options | Result value
Clostridia | Negative | 0
Clostridia | Positive | 1
Clostridia | Indeterminable | 2
Enterococcus | Negative | 0
Enterococcus | Positive | 1
Enterococcus | Indeterminable | 2
Ecoli | Negative | 0
Ecoli | Positive | 1
Ecoli | Indeterminable | 2
Salmonella | Negative | 0
Salmonella | Positive | 1
Salmonella | Indeterminable | 2

## Analysis Service Uncertainties
Service_title | Range Min | Range Max | Uncertainty Value
Analysis Service Uncertainties
Analysis service title | Result Range min | Result range max | Uncertainty value
Temperature | 0 | 2.3 | 0.1
Temperature | 2.01 | 4 | 0.2
Temperature | 4.01 | 6 | 0.3
Temperature | 6.01 | 8 | 0.4
Temperature | 8.01 | 999 | 0.5
pH (field) | 0 | 2 | 0.1
pH (field) | 2.01 | 4 | 0.2
pH (field) | 4.01 | 6 | 0.3
pH (field) | 6.01 | 8 | 0.4
pH (field) | 8.01 | 999 | 0.5
Aflatoxins Total | 0 | 2 | 0.1
Aflatoxins Total | 2.01 | 4 | 0.2
Aflatoxins Total | 4.01 | 6 | 0.3
Aflatoxins Total | 6.01 | 8 | 0.4
Aflatoxins Total | 8.01 | 999 | 0.5
Ash | 0 | 2 | 0.1
Ash | 2.01 | 4 | 0.2
Ash | 4.01 | 6 | 0.3
Ash | 6.01 | 8 | 0.4
Ash | 8.01 | 999 | 0.5
Calcium | 0 | 2 | 0.1
Calcium | 2.01 | 4 | 0.2
Calcium | 4.01 | 6 | 0.3
Calcium | 6.01 | 8 | 0.4
Calcium | 8.01 | 999 | 0.5
Chlorides | 0 | 2 | 0.1
Chlorides | 2.01 | 4 | 0.2
Chlorides | 4.01 | 6 | 0.3
Chlorides | 6.01 | 8 | 0.4
Chlorides | 8.01 | 999 | 0.5
Chlorine residual | 0 | 2 | 0.1
Chlorine residual | 2.01 | 4 | 0.2
Chlorine residual | 4.01 | 6 | 0.3
Chlorine residual | 6.01 | 8 | 0.4
Chlorine residual | 8.01 | 999 | 0.5
COD | 0 | 2 | 0.1
COD | 2.01 | 4 | 0.2
COD | 4.01 | 6 | 0.3
COD | 6.01 | 8 | 0.4
COD | 8.01 | 999 | 0.5
Conductivity @ 25 deg C | 0 | 2 | 0.1
Conductivity @ 25 deg C | 2.01 | 4 | 0.2
Conductivity @ 25 deg C | 4.01 | 6 | 0.3
Conductivity @ 25 deg C | 6.01 | 8 | 0.4
Conductivity @ 25 deg C | 8.01 | 999 | 0.5
Copper | 0 | 2 | 0.1
Copper | 2.01 | 4 | 0.2
Copper | 4.01 | 6 | 0.3
Copper | 6.01 | 8 | 0.4
Copper | 8.01 | 999 | 0.5
Ether Extract | 0 | 2 | 0.1
Ether Extract | 2.01 | 4 | 0.2
Ether Extract | 4.01 | 6 | 0.3
Ether Extract | 6.01 | 8 | 0.4
Ether Extract | 8.01 | 999 | 0.5
Fat Crude | 0 | 2 | 0.1
Fat Crude | 2.01 | 4 | 0.2
Fat Crude | 4.01 | 6 | 0.3
Fat Crude | 6.01 | 8 | 0.4
Fat Crude | 8.01 | 999 | 0.5
Fibre - ADF | 0 | 2 | 0.1
Fibre - ADF | 2.01 | 4 | 0.2
Fibre - ADF | 4.01 | 6 | 0.3
Fibre - ADF | 6.01 | 8 | 0.4
Fibre - ADF | 8.01 | 999 | 0.5
Fibre - Crude | 0 | 2 | 0.1
Fibre - Crude | 2.01 | 4 | 0.2
Fibre - Crude | 4.01 | 6 | 0.3
Fibre - Crude | 6.01 | 8 | 0.4
Fibre - Crude | 8.01 | 999 | 0.5
Fibre - NDF | 0 | 2 | 0.1
Fibre - NDF | 2.01 | 4 | 0.2
Fibre - NDF | 4.01 | 6 | 0.3
Fibre - NDF | 6.01 | 8 | 0.4
Fibre - NDF | 8.01 | 999 | 0.5
Fluoride | 0 | 2 | 0.1
Fluoride | 2.01 | 4 | 0.2
Fluoride | 4.01 | 6 | 0.3
Fluoride | 6.01 | 8 | 0.4
Fluoride | 8.01 | 999 | 0.5
Iron | 0 | 2 | 0.1
Iron | 2.01 | 4 | 0.2
Iron | 4.01 | 6 | 0.3
Iron | 6.01 | 8 | 0.4
Iron | 8.01 | 999 | 0.5
Lignin | 0 | 2 | 0.1
Lignin | 2.01 | 4 | 0.2
Lignin | 4.01 | 6 | 0.3
Lignin | 6.01 | 8 | 0.4
Lignin | 8.01 | 999 | 0.5
Magnesium | 0 | 2 | 0.1
Magnesium | 2.01 | 4 | 0.2
Magnesium | 4.01 | 6 | 0.3
Magnesium | 6.01 | 8 | 0.4
Magnesium | 8.01 | 999 | 0.5
Manganese | 0 | 2 | 0.1
Manganese | 2.01 | 4 | 0.2
Manganese | 4.01 | 6 | 0.3
Manganese | 6.01 | 8 | 0.4
Manganese | 8.01 | 999 | 0.5
Moisture | 0 | 2 | 0.1
Moisture | 2.01 | 4 | 0.2
Moisture | 4.01 | 6 | 0.3
Moisture | 6.01 | 8 | 0.4
Moisture | 8.01 | 999 | 0.5
Nitrates & Nitrites | 0 | 2 | 0.1
Nitrates & Nitrites | 2.01 | 4 | 0.2
Nitrates & Nitrites | 4.01 | 6 | 0.3
Nitrates & Nitrites | 6.01 | 8 | 0.4
Nitrates & Nitrites | 8.01 | 999 | 0.5
Phosphorus | 0 | 2 | 0.1
Phosphorus | 2.01 | 4 | 0.2
Phosphorus | 4.01 | 6 | 0.3
Phosphorus | 6.01 | 8 | 0.4
Phosphorus | 8.01 | 999 | 0.5
pH (laboratory) | 0 | 2 | 0.1
pH (laboratory) | 2.01 | 4 | 0.2
pH (laboratory) | 4.01 | 6 | 0.3
pH (laboratory) | 6.01 | 8 | 0.4
pH (laboratory) | 8.01 | 999 | 0.5
Phosphorus Total | 0 | 2 | 0.1
Phosphorus Total | 2.01 | 4 | 0.2
Phosphorus Total | 4.01 | 6 | 0.3
Phosphorus Total | 6.01 | 8 | 0.4
Phosphorus Total | 8.01 | 999 | 0.5
Protein - ADIP | 0 | 2 | 0.1
Protein - ADIP | 2.01 | 4 | 0.2
Protein - ADIP | 4.01 | 6 | 0.3
Protein - ADIP | 6.01 | 8 | 0.4
Protein - ADIP | 8.01 | 999 | 0.5
Protein - NDIP | 0 | 2 | 0.1
Protein - NDIP | 2.01 | 4 | 0.2
Protein - NDIP | 4.01 | 6 | 0.3
Protein - NDIP | 6.01 | 8 | 0.4
Protein - NDIP | 8.01 | 999 | 0.5
Protein (KOH Solubility) | 0 | 2 | 0.1
Protein (KOH Solubility) | 2.01 | 4 | 0.2
Protein (KOH Solubility) | 4.01 | 6 | 0.3
Protein (KOH Solubility) | 6.01 | 8 | 0.4
Protein (KOH Solubility) | 8.01 | 999 | 0.5
Protein (Soluble) | 0 | 2 | 0.1
Protein (Soluble) | 2.01 | 4 | 0.2
Protein (Soluble) | 4.01 | 6 | 0.3
Protein (Soluble) | 6.01 | 8 | 0.4
Protein (Soluble) | 8.01 | 999 | 0.5
Protein Crude | 0 | 2 | 0.1
Protein Crude | 2.01 | 4 | 0.2
Protein Crude | 4.01 | 6 | 0.3
Protein Crude | 6.01 | 8 | 0.4
Protein Crude | 8.01 | 999 | 0.5
Sodium | 0 | 2 | 0.1
Sodium | 2.01 | 4 | 0.2
Sodium | 4.01 | 6 | 0.3
Sodium | 6.01 | 8 | 0.4
Sodium | 8.01 | 999 | 0.5
Starch | 0 | 2 | 0.1
Starch | 2.01 | 4 | 0.2
Starch | 4.01 | 6 | 0.3
Starch | 6.01 | 8 | 0.4
Starch | 8.01 | 999 | 0.5
Sugars | 0 | 2 | 0.1
Sugars | 2.01 | 4 | 0.2
Sugars | 4.01 | 6 | 0.3
Sugars | 6.01 | 8 | 0.4
Sugars | 8.01 | 999 | 0.5
Sulphate | 0 | 2 | 0.1
Sulphate | 2.01 | 4 | 0.2
Sulphate | 4.01 | 6 | 0.3
Sulphate | 6.01 | 8 | 0.4
Sulphate | 8.01 | 999 | 0.5
Suspended solids | 0 | 2 | 0.1
Suspended solids | 2.01 | 4 | 0.2
Suspended solids | 4.01 | 6 | 0.3
Suspended solids | 6.01 | 8 | 0.4
Suspended solids | 8.01 | 999 | 0.5
TDS (calculated) | 0 | 2 | 0.1
TDS (calculated) | 2.01 | 4 | 0.2
TDS (calculated) | 4.01 | 6 | 0.3
TDS (calculated) | 6.01 | 8 | 0.4
TDS (calculated) | 8.01 | 999 | 0.5
Tot. Alkalinity (CaCO3) | 0 | 2 | 0.1
Tot. Alkalinity (CaCO3) | 2.01 | 4 | 0.2
Tot. Alkalinity (CaCO3) | 4.01 | 6 | 0.3
Tot. Alkalinity (CaCO3) | 6.01 | 8 | 0.4
Tot. Alkalinity (CaCO3) | 8.01 | 999 | 0.5
Tot. Hardness (THCaCO3) | 0 | 2 | 0.1
Tot. Hardness (THCaCO3) | 2.01 | 4 | 0.2
Tot. Hardness (THCaCO3) | 4.01 | 6 | 0.3
Tot. Hardness (THCaCO3) | 6.01 | 8 | 0.4
Tot. Hardness (THCaCO3) | 8.01 | 999 | 0.5
Urea | 0 | 2 | 0.1
Urea | 2.01 | 4 | 0.2
Urea | 4.01 | 6 | 0.3
Urea | 6.01 | 8 | 0.4
Urea | 8.01 | 999 | 0.5
Zinc | 0 | 2 | 0.1
Zinc | 2.01 | 4 | 0.2
Zinc | 4.01 | 6 | 0.3
Zinc | 6.01 | 8 | 0.4
Zinc | 8.01 | 999 | 0.5
Dry Matter | 0 | 2 | 0.1
Dry Matter | 2.01 | 4 | 0.2
Dry Matter | 4.01 | 6 | 0.3
Dry Matter | 6.01 | 8 | 0.4
Dry Matter | 8.01 | 999 | 0.5
DE – Digestible Energy | 0 | 2 | 0.1
DE – Digestible Energy | 2.01 | 4 | 0.2
DE – Digestible Energy | 4.01 | 6 | 0.3
DE – Digestible Energy | 6.01 | 8 | 0.4
DE – Digestible Energy | 8.01 | 999 | 0.5
Ecoli Count | 0 | 2 | 0.1
Ecoli Count | 2.01 | 4 | 0.2
Ecoli Count | 4.01 | 6 | 0.3
Ecoli Count | 6.01 | 8 | 0.4
Ecoli Count | 8.01 | 999 | 0.5
Enterococcus count | 0 | 2 | 0.1
Enterococcus count | 2.01 | 4 | 0.2
Enterococcus count | 4.01 | 6 | 0.3
Enterococcus count | 6.01 | 8 | 0.4
Enterococcus count | 8.01 | 999 | 0.5
Total Viable Bacteria count | 0 | 2 | 0.1
Total Viable Bacteria count | 2.01 | 4 | 0.2
Total Viable Bacteria count | 4.01 | 6 | 0.3
Total Viable Bacteria count | 6.01 | 8 | 0.4
Total Viable Bacteria count | 8.01 | 999 | 0.5
FS02 | 0 | 2 | 0.1
FS02 | 2.01 | 4 | 0.2
FS02 | 4.01 | 6 | 0.3
FS02 | 6.01 | 8 | 0.4
FS02 | 8.01 | 999 | 0.5

## Analysis Profiles
Client_title | title | description | ProfileKey | CostCode | Remarks
Analysis Profiles
Client | Title | Description | Profile key | Cost code | Remarks
| Trace Metals | Trace metals in feeds and Water | PTM
| Digestible Energy | Simple DE dependencies | PDE
| Micro-Bio check | Tests presence of organisms only | Mbcheck
| Micro-Bio counts | Size of infestation | Mbcount

## Analysis Profile Services
Profile | Service
Analysis Profile Services
Profile | Analyses
Trace Metals | Calcium
Trace Metals | Copper
Trace Metals | Iron
Trace Metals | Magnesium
Trace Metals | Manganese
Trace Metals | Sodium
Trace Metals | Zinc
Digestible Energy | DE – Digestible Energy
Digestible Energy | Ether Extract
Digestible Energy | Ash
Digestible Energy | Fibre - Crude
Digestible Energy | Protein Crude
Micro-Bio check | Clostridia
Micro-Bio check | Ecoli
Micro-Bio check | Salmonella
Micro-Bio check | Enterococcus
Micro-Bio counts | Ecoli Count
Micro-Bio counts | Enterococcus count
Micro-Bio counts | Total Viable Bacteria count

## Analysis Specifications
Client_title | SampleType_title | service | min | max | error
Analysis Specifications
Client | Sample type | Analysis service | Minimum | Maximum | Tolerance %

## AR Templates
title | Client_title | description | SampleType_title | SamplePoint_title | AnalysisProfile_title | Remarks | ReportDryMatter
Analysis Request Templates
Template title | Client title | Description | Sample type | Sample point | Analysis profile | Remarks | Report as dry matter?
Digestible Energy |  |  | Carcass Meal | Abattoir | Digestible Energy

## AR Template Analyses
ARTemplate | service_uid | partition
AR Template Analyses
AR Template title | Analysis Service | Partition
Digestible Energy | DE – Digestible Energy | part-1
Digestible Energy | Ether Extract | part-1
Digestible Energy | Ash | part-1
Digestible Energy | Fibre - Crude | part-1
Digestible Energy | Protein Crude | part-1

## AR Template Partitions
ARTemplate | part_id | container | preservation
AR Template Partitions
AR Template title | Partition | Container | Preservation

## Reference Definitions
title | description | Hazardous | Blank | DateCreated | ExpiryDate
Reference Definitions
Reference Definition title | Description | Hazardous? | Blank? | Date created | Expiry date
White wine | White wine 1999 | 0 | 0 | 1999-10-31 | 2013-10-31
4g/l sugar | Sugar water at 4g/l sugar | 0 | 0 | 2012-10-02 | 2013-10-02
8g/l sugar | Sugar water at 8g/l sugar | 0 | 0 | 2012-10-02 | 2013-10-02
Distilled Water | Distilled water | 0 | 1 | 2012-10-02 | 2013-10-02

## Reference Definition Results
ReferenceDefinition_title | service | result | min | max
Reference Definition Expected Values
Reference Definition title | Analysis service | Result | Minimum | Maximum
Distilled Water | Calcium | 12 | 5 | 20
Distilled Water | Copper | 13 | 5 | 21
Distilled Water | Fluoride | 14 | 5 | 22
Distilled Water | Iron | 15 | 5 | 23
Distilled Water | Manganese | 16 | 5 | 24
Distilled Water | Magnesium | 17 | 5 | 25
Distilled Water | Sodium | 18 | 5 | 26
Distilled Water | FS02 | 10 | 5 | 25
Distilled Water | TSO2 | 10 | 5 | 25
White wine | FS02 | 12 | 5 | 25
White wine | TSO2 | 12 | 5 | 25
White wine | pH (field) | 5 | 4.5 | 5.5
4g/l sugar | Sugars | 4 | 3.8 | 4.2
8g/l sugar | Sugars | 8 | 7.8 | 8.2

## Sampling Deviations
title | description
Sampling Deviations
Title | Description
Sampled by client | The client collected and submitted the sample

## Worksheet Templates
title | description | Instrument_title
Worksheet Templates
Title | Description | Instrument
FIAStar FSO2 & TSO2 | Includes all unassigned FS02 and TS02 services | Fiastar

## Worksheet Template Services
WorksheetTemplate_title | service
Worksheet Template Services
Worksheet Template title | Analysis Service
FIAStar FSO2 & TSO2 | TSO2
FIAStar FSO2 & TSO2 | FS02

## Worksheet Template Layouts
WorksheetTemplate_title | pos | type | blank_ref | control_ref | dup
Worksheet Template Layouts
Worksheet Template Title | Position on worksheet | Type | Blank Reference | Control Reference | Duplicate position
FIAStar FSO2 & TSO2 | 1 | Blank | Distilled Water
FIAStar FSO2 & TSO3 | 2 | Control |  | White wine
FIAStar FSO2 & TSO4 | 3 | Analysis
FIAStar FSO2 & TSO5 | 4 | Analysis
FIAStar FSO2 & TSO6 | 5 | Analysis
FIAStar FSO2 & TSO7 | 6 | Analysis
FIAStar FSO2 & TSO8 | 7 | Analysis
FIAStar FSO2 & TSO9 | 8 | Analysis
FIAStar FSO2 & TSO10 | 9 | Analysis
FIAStar FSO2 & TSO11 | 10 | Analysis
FIAStar FSO2 & TSO12 | 11 | Analysis
FIAStar FSO2 & TSO13 | 12 | Analysis
FIAStar FSO2 & TSO14 | 13 | Analysis
FIAStar FSO2 & TSO15 | 14 | Analysis
FIAStar FSO2 & TSO16 | 15 | Analysis
FIAStar FSO2 & TSO17 | 16 | Analysis
FIAStar FSO2 & TSO18 | 17 | Analysis
FIAStar FSO2 & TSO19 | 18 | Analysis
FIAStar FSO2 & TSO20 | 19 | Duplicate |  |  | 3
FIAStar FSO2 & TSO21 | 20 | Blank | Distilled Water

## Setup
Field | Description | Value
Setup – Global defaults
Field | Description | Value
PasswordLifetime | Password lifetime (days) | 0
AutoLogOff | Auto log off period (minutes) | 0
ShowPartitions | Show Sample Partitions | 1
ShowPricing | Show pricing | 1
Currency | Currency | ZAR
ShowPricing | Show pricing | 0
MemberDiscount | Member discount % | 15
VAT | Vat % | 14
MinimumResults | Minimum results for stats | 5
BatchEmail | Max email batch size | 5
BatchFax | Max fax batch size | 4
SMSGatewayAddress | Sms gateway address
SamplingWorkflowEnabled | Sampling workflow enabled? | 0
CategoriseAnalysisServices | Analysis services categorised in setup? | 1
DryMatterService | Analysis service for dry matter calculations | Dry Matter
ARImportOption | Bulk ar import option | Classic
ARAttachmentOption | Ar results file attachment option | Permitted
AnalysisAttachmentOption | Analysis results attachment option | Permitted
DefaultSampleLifetime_days | Default sample retention period – days | 30
DefaultSampleLifetime_hours | Default sample retention period – hours | 0
DefaultSampleLifetime_minutes | Default sample retention period – minutes | 0
AutoPrintLabels | Auto label printing workflow step | register
AutoLabelSize | Auto label printing size | small
YearInPrefix | Must the year be included in sample prefixes? | 1
SampleIDPadding | Sample id padding | 4
ARIDPadding | Ar id padding | 2
ExternalIDServer | External id server? | 0
IDServerURL | Id server url

## Constants
Roles | Groups | AR Import options | Results Attachment option | Auto label print size | Auto Label Printing | Boolean | Publication Preferences | North South | East West | Point of capture
Analyst | Analysts | Classic | Not Permitted | normal | receive | 0 | email | N | E | field
LabClerk | LabClerks | Profiles | Permitted | small | register | 1 | fax | S | W | lab
LabManager | LabManagers | Special | Required |  | none |  | file
Preserver | Preservers | [5 empty] | print
Publisher | Publishers | [5 empty] | pdf
Sampler | Samplers | [5 empty] | sms
Verifier | Verifiers
ClientType | Currency | Partitions | Worksheet template analysis types | Client types | Gender | Instrument Maintenance task types | Instrument Scheduled tasks types | Instrument Scheduled Repeat unit
noncorporate | AED | part-1 | Blank | Corporate | Male | Preventive | Preventive | Days
| AFN | part-2 | Control | Non-corporate | Female | Repair | Repair | Weeks
| ALL | part-3 | Analysis |  | Don't Know | Enhancement | Enhancement | Months
| AMD | part-4 | Duplicate |  |  |  | Calibration | Years
| ANG | part-5 |  |  |  |  | Validation
| AOA | part-6
| ARS | part-7
| AUD | part-8
| AWG | part-9
| AZN | part-10
| BAM | part-11
| BBD | part-12
BDT
BGN
BHD
BIF
BMD
BND
BOB
BOV
BRL
BSD
BTN
BWP
BYR
BZD
CAD
CDF
CHE
CHF
CHW
CLF
CLP
CNY
COP
COU
CRC
CUC
CUP
CVE
CZK
DJF
DKK
DOP
DZD
EGP
ERN
ETB
EUR
FJD
FKP
GBP
GEL
GHS
GIP
GMD
GNF
GTQ
GYD
HKD
HNL
HRK
HTG
HUF
IDR
ILS
INR
IQD
IRR
ISK
JMD
JOD
JPY
KES
KGS
KHR
KMF
KPW
KRW
KWD
KYD
KZT
LAK
LBP
LKR
LRD
LSL
LTL
LVL
LYD
MAD
MDL
MGA
MKD
MMK
MNT
MOP
MRO
MUR
MVR
MWK
MXN
MXV
MYR
MZN
NAD
NGN
NIO
NOK
NPR
NZD
OMR
PAB
PEN
PGK
PHP
PKR
PLN
PYG
QAR
RON
RSD
RUB
RWF
SAR
SBD
SCR
SDG
SEK
SGD
SHP
SLL
SOS
SRD
SSP
STD
SYP
SZL
THB
TJS
TMT
TND
TOP
TRY
TTD
TWD
TZS
UAH
UGX
USD
USN
USS
UYI
UYU
UZS
VEF
VND
VUV
WST
XAF
XAG
XAU
XBA
XBB
XBC
XBD
XCD
XDR
XFU
XOF
XPD
XPF
XPT
XTS
XXX
YER
ZAR
ZMK
ZWL